## %Transmission
NE20B Transmission
|  | Wavelength (nm) | % Transmission
|  | 200 | 0.000117
|  | 201 | 0.0001125
|  | 202 | 0.00011467
|  | 203 | 0.00012067
Product Raw Data |  | 204 | 9.4667e-05
Unmounted Ø25 mm Absorptive ND Filter, Optical Density: 2.0 |  | 205 | 7.5333e-05
|  | 206 | 4.6333e-05
Item # | NE20B | 207 | 6.5e-05
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 208 | 6.8333e-05
|  | 209 | 7.6333e-05
|  | 210 | 4.8e-05
|  | 211 | 2.4333e-05
|  | 212 | 7.3333e-06
|  | 213 | 5.3333e-06
This data may be used in publications. However, please cite Thorlabs as the source. |  | 214 | 7.3333e-06
|  | 215 | 2.5667e-05
|  | 216 | 1.7e-05
Additional Information: |  | 217 | 9e-06
|  | 218 | 4.6667e-06
|  | 219 | 1.8333e-05
|  | 220 | 2.2667e-05
|  | 221 | 4.1667e-05
|  | 222 | 1.9333e-05
|  | 223 | 1.1667e-05
|  | 224 | 6.6667e-07
|  | 225 | 7.6667e-06
|  | 226 | 9.3333e-06
|  | 227 | 4.6667e-06
|  | 228 | 1.4667e-05
|  | 229 | 2.9667e-05
|  | 230 | 3.5333e-05
|  | 231 | 9e-06
|  | 232 | 7e-06
|  | 233 | 1.8333e-05
|  | 234 | 4.3333e-06
|  | 235 | 1.8e-05
|  | 236 | 3.6e-05
|  | 237 | 3.0667e-05
|  | 238 | 1.5667e-05
|  | 239 | 6.6667e-07
|  | 240 | 1e-06
|  | 241 | 1.2e-05
|  | 242 | 1.7667e-05
|  | 243 | 1.1333e-05
|  | 244 | 1.6667e-06
|  | 245 | 1.3333e-06
|  | 246 | 3e-06
|  | 247 | 1.3333e-05
|  | 248 | 2.5667e-05
|  | 249 | 1.9667e-05
|  | 250 | 1.3333e-05
|  | 251 | 1.1e-05
|  | 252 | 2.3e-05
|  | 253 | 3e-05
|  | 254 | 2.4333e-05
|  | 255 | 1.1667e-05
|  | 256 | 7.3333e-06
|  | 257 | 7.6667e-06
|  | 258 | 1.5667e-05
|  | 259 | 2.1e-05
|  | 260 | 2.0333e-05
|  | 261 | 1.3333e-05
|  | 262 | 4.3333e-06
|  | 263 | 1.3333e-06
|  | 264 | 1.6333e-05
|  | 265 | 2.7667e-05
|  | 266 | 2.4333e-05
|  | 267 | 5.3333e-06
|  | 268 | 4e-06
|  | 269 | 5.6667e-06
|  | 270 | 2.1333e-05
|  | 271 | 2.0333e-05
|  | 272 | 2.6333e-05
|  | 273 | 1.6333e-05
|  | 274 | 1.5333e-05
|  | 275 | 1.1667e-05
|  | 276 | 2.1333e-05
|  | 277 | 2.4667e-05
|  | 278 | 3.2333e-05
|  | 279 | 2.4667e-05
|  | 280 | 2.7667e-05
|  | 281 | 1.5e-05
|  | 282 | 2.5333e-05
|  | 283 | 2.8667e-05
|  | 284 | 3.9333e-05
|  | 285 | 1.5333e-05
|  | 286 | 9.3333e-06
|  | 287 | 2e-06
|  | 288 | 2.2e-05
|  | 289 | 1.8e-05
|  | 290 | 1.8e-05
|  | 291 | 4e-06
|  | 292 | 2.6667e-06
|  | 293 | 1e-06
|  | 294 | 2.9667e-05
|  | 295 | 2.1667e-05
|  | 296 | 2.4e-05
|  | 297 | 8.3333e-06
|  | 298 | 9.3333e-06
|  | 299 | 2.3333e-06
|  | 300 | 2.9667e-05
|  | 301 | 2.0667e-05
|  | 302 | 2.3333e-05
|  | 303 | 1.1333e-05
|  | 304 | 2.4e-05
|  | 305 | 3.3e-05
|  | 306 | 3.8667e-05
|  | 307 | 2.7e-05
|  | 308 | 2.3667e-05
|  | 309 | 5.3333e-06
|  | 310 | 9.6667e-06
|  | 311 | 5e-06
|  | 312 | 2.8e-05
|  | 313 | 2.1667e-05
|  | 314 | 3.2333e-05
|  | 315 | 1e-05
|  | 316 | 2.1667e-05
|  | 317 | 2.0667e-05
|  | 318 | 3.5e-05
|  | 319 | 2.1667e-05
|  | 320 | 1.6667e-06
|  | 321 | 2.6667e-05
|  | 322 | 2.2333e-05
|  | 323 | 1.9e-05
|  | 324 | 1.6667e-06
|  | 325 | 1.6667e-06
|  | 326 | 1.8e-05
|  | 327 | 2.2333e-05
|  | 328 | 1.2e-05
|  | 329 | 1.2e-05
|  | 330 | 1.2333e-05
|  | 331 | 8.6667e-06
|  | 332 | 7.3333e-06
|  | 333 | 7.3333e-06
|  | 334 | 8.6667e-06
|  | 335 | 1.8333e-05
|  | 336 | 1.1e-05
|  | 337 | 6.6667e-06
|  | 338 | 2e-05
|  | 339 | 8.6667e-06
|  | 340 | 6e-06
|  | 341 | 1.3667e-05
|  | 342 | 1.3333e-05
|  | 343 | 1.4667e-05
|  | 344 | 2.3333e-05
|  | 345 | 4e-06
|  | 346 | 1.4e-05
|  | 347 | 1.3333e-05
|  | 348 | 4.7667e-05
|  | 349 | 8.5667e-05
|  | 350 | 0.000144
|  | 351 | 0.00021633
|  | 352 | 0.000325
|  | 353 | 0.00046767
|  | 354 | 0.000679
|  | 355 | 0.000941
|  | 356 | 0.001307
|  | 357 | 0.001783
|  | 358 | 0.002424
|  | 359 | 0.0032543
|  | 360 | 0.0042993
|  | 361 | 0.0055797
|  | 362 | 0.0071417
|  | 363 | 0.0090013
|  | 364 | 0.011162
|  | 365 | 0.013613
|  | 366 | 0.016447
|  | 367 | 0.019669
|  | 368 | 0.023262
|  | 369 | 0.027022
|  | 370 | 0.030678
|  | 371 | 0.033985
|  | 372 | 0.036723
|  | 373 | 0.038769
|  | 374 | 0.040147
|  | 375 | 0.040892
|  | 376 | 0.041377
|  | 377 | 0.04211
|  | 378 | 0.043645
|  | 379 | 0.04667
|  | 380 | 0.051429
|  | 381 | 0.05814
|  | 382 | 0.066833
|  | 383 | 0.077382
|  | 384 | 0.089656
|  | 385 | 0.10325
|  | 386 | 0.11833
|  | 387 | 0.13474
|  | 388 | 0.15252
|  | 389 | 0.17165
|  | 390 | 0.19156
|  | 391 | 0.21158
|  | 392 | 0.23147
|  | 393 | 0.25136
|  | 394 | 0.27152
|  | 395 | 0.2919
|  | 396 | 0.31241
|  | 397 | 0.33191
|  | 398 | 0.35055
|  | 399 | 0.36885
|  | 400 | 0.38715
|  | 401 | 0.40439
|  | 402 | 0.4199
|  | 403 | 0.43397
|  | 404 | 0.44631
|  | 405 | 0.45659
|  | 406 | 0.46581
|  | 407 | 0.47484
|  | 408 | 0.48389
|  | 409 | 0.49109
|  | 410 | 0.4974
|  | 411 | 0.50329
|  | 412 | 0.51023
|  | 413 | 0.51798
|  | 414 | 0.5264
|  | 415 | 0.53438
|  | 416 | 0.54193
|  | 417 | 0.5499
|  | 418 | 0.55985
|  | 419 | 0.57116
|  | 420 | 0.58306
|  | 421 | 0.59405
|  | 422 | 0.60447
|  | 423 | 0.61492
|  | 424 | 0.62641
|  | 425 | 0.63909
|  | 426 | 0.65168
|  | 427 | 0.66222
|  | 428 | 0.67095
|  | 429 | 0.67863
|  | 430 | 0.68697
|  | 431 | 0.69508
|  | 432 | 0.70189
|  | 433 | 0.70599
|  | 434 | 0.70775
|  | 435 | 0.70821
|  | 436 | 0.70954
|  | 437 | 0.71143
|  | 438 | 0.713
|  | 439 | 0.71386
|  | 440 | 0.71431
|  | 441 | 0.71683
|  | 442 | 0.72184
|  | 443 | 0.73015
|  | 444 | 0.73956
|  | 445 | 0.74933
|  | 446 | 0.75944
|  | 447 | 0.77147
|  | 448 | 0.78619
|  | 449 | 0.80311
|  | 450 | 0.8201
|  | 451 | 0.83541
|  | 452 | 0.84937
|  | 453 | 0.86335
|  | 454 | 0.87883
|  | 455 | 0.89464
|  | 456 | 0.90931
|  | 457 | 0.9218
|  | 458 | 0.93249
|  | 459 | 0.94316
|  | 460 | 0.95408
|  | 461 | 0.9651
|  | 462 | 0.97402
|  | 463 | 0.9792
|  | 464 | 0.98177
|  | 465 | 0.98367
|  | 466 | 0.98657
|  | 467 | 0.98962
|  | 468 | 0.99084
|  | 469 | 0.98967
|  | 470 | 0.98642
|  | 471 | 0.98339
|  | 472 | 0.98102
|  | 473 | 0.97886
|  | 474 | 0.97616
|  | 475 | 0.9722
|  | 476 | 0.96735
|  | 477 | 0.96307
|  | 478 | 0.9601
|  | 479 | 0.95775
|  | 480 | 0.95387
|  | 481 | 0.94762
|  | 482 | 0.94038
|  | 483 | 0.93404
|  | 484 | 0.92983
|  | 485 | 0.92713
|  | 486 | 0.924
|  | 487 | 0.91986
|  | 488 | 0.91545
|  | 489 | 0.91048
|  | 490 | 0.90602
|  | 491 | 0.902
|  | 492 | 0.8986
|  | 493 | 0.89491
|  | 494 | 0.89071
|  | 495 | 0.88779
|  | 496 | 0.88674
|  | 497 | 0.88627
|  | 498 | 0.88497
|  | 499 | 0.88189
|  | 500 | 0.87825
|  | 501 | 0.87509
|  | 502 | 0.87379
|  | 503 | 0.87384
|  | 504 | 0.87348
|  | 505 | 0.87178
|  | 506 | 0.86966
|  | 507 | 0.86838
|  | 508 | 0.86915
|  | 509 | 0.87131
|  | 510 | 0.87354
|  | 511 | 0.87496
|  | 512 | 0.87522
|  | 513 | 0.87528
|  | 514 | 0.87706
|  | 515 | 0.8802
|  | 516 | 0.88399
|  | 517 | 0.88641
|  | 518 | 0.88807
|  | 519 | 0.89063
|  | 520 | 0.895
|  | 521 | 0.90101
|  | 522 | 0.90648
|  | 523 | 0.91035
|  | 524 | 0.91346
|  | 525 | 0.91752
|  | 526 | 0.92387
|  | 527 | 0.93032
|  | 528 | 0.93631
|  | 529 | 0.94161
|  | 530 | 0.94706
|  | 531 | 0.9542
|  | 532 | 0.96208
|  | 533 | 0.97025
|  | 534 | 0.97808
|  | 535 | 0.98472
|  | 536 | 0.99028
|  | 537 | 0.99589
|  | 538 | 1.0015
|  | 539 | 1.0074
|  | 540 | 1.0133
|  | 541 | 1.0191
|  | 542 | 1.0241
|  | 543 | 1.0273
|  | 544 | 1.0303
|  | 545 | 1.0343
|  | 546 | 1.0387
|  | 547 | 1.0433
|  | 548 | 1.0455
|  | 549 | 1.0459
|  | 550 | 1.0458
|  | 551 | 1.0461
|  | 552 | 1.0476
|  | 553 | 1.0489
|  | 554 | 1.0484
|  | 555 | 1.0449
|  | 556 | 1.0402
|  | 557 | 1.0383
|  | 558 | 1.0372
|  | 559 | 1.0347
|  | 560 | 1.0299
|  | 561 | 1.0253
|  | 562 | 1.0206
|  | 563 | 1.0164
|  | 564 | 1.0115
|  | 565 | 1.0061
|  | 566 | 1.0008
|  | 567 | 0.99605
|  | 568 | 0.99111
|  | 569 | 0.98583
|  | 570 | 0.97961
|  | 571 | 0.97435
|  | 572 | 0.96934
|  | 573 | 0.96409
|  | 574 | 0.95825
|  | 575 | 0.95181
|  | 576 | 0.94643
|  | 577 | 0.94234
|  | 578 | 0.93765
|  | 579 | 0.93239
|  | 580 | 0.92648
|  | 581 | 0.92274
|  | 582 | 0.92013
|  | 583 | 0.91742
|  | 584 | 0.91397
|  | 585 | 0.91085
|  | 586 | 0.90961
|  | 587 | 0.90925
|  | 588 | 0.90995
|  | 589 | 0.91129
|  | 590 | 0.91177
|  | 591 | 0.9123
|  | 592 | 0.91388
|  | 593 | 0.91755
|  | 594 | 0.92147
|  | 595 | 0.92426
|  | 596 | 0.92712
|  | 597 | 0.93176
|  | 598 | 0.9376
|  | 599 | 0.94486
|  | 600 | 0.95152
|  | 601 | 0.95857
|  | 602 | 0.96396
|  | 603 | 0.96918
|  | 604 | 0.97454
|  | 605 | 0.98132
|  | 606 | 0.98862
|  | 607 | 0.99691
|  | 608 | 1.0042
|  | 609 | 1.0113
|  | 610 | 1.0179
|  | 611 | 1.026
|  | 612 | 1.0337
|  | 613 | 1.0424
|  | 614 | 1.0506
|  | 615 | 1.0587
|  | 616 | 1.0657
|  | 617 | 1.0739
|  | 618 | 1.0823
|  | 619 | 1.0916
|  | 620 | 1.0986
|  | 621 | 1.105
|  | 622 | 1.1101
|  | 623 | 1.1158
|  | 624 | 1.1226
|  | 625 | 1.1305
|  | 626 | 1.1395
|  | 627 | 1.1459
|  | 628 | 1.1514
|  | 629 | 1.1548
|  | 630 | 1.1595
|  | 631 | 1.1645
|  | 632 | 1.1711
|  | 633 | 1.1759
|  | 634 | 1.1788
|  | 635 | 1.1801
|  | 636 | 1.1839
|  | 637 | 1.1901
|  | 638 | 1.1953
|  | 639 | 1.1995
|  | 640 | 1.2028
|  | 641 | 1.2079
|  | 642 | 1.2137
|  | 643 | 1.2203
|  | 644 | 1.2271
|  | 645 | 1.2342
|  | 646 | 1.2406
|  | 647 | 1.2474
|  | 648 | 1.2548
|  | 649 | 1.2623
|  | 650 | 1.2704
|  | 651 | 1.2801
|  | 652 | 1.2908
|  | 653 | 1.3002
|  | 654 | 1.3084
|  | 655 | 1.3201
|  | 656 | 1.335
|  | 657 | 1.3494
|  | 658 | 1.3616
|  | 659 | 1.3747
|  | 660 | 1.3911
|  | 661 | 1.4106
|  | 662 | 1.4317
|  | 663 | 1.452
|  | 664 | 1.4711
|  | 665 | 1.4918
|  | 666 | 1.5146
|  | 667 | 1.5413
|  | 668 | 1.5666
|  | 669 | 1.5969
|  | 670 | 1.6251
|  | 671 | 1.6553
|  | 672 | 1.6865
|  | 673 | 1.7218
|  | 674 | 1.7578
|  | 675 | 1.7946
|  | 676 | 1.8326
|  | 677 | 1.874
|  | 678 | 1.9162
|  | 679 | 1.9628
|  | 680 | 2.0123
|  | 681 | 2.0596
|  | 682 | 2.1039
|  | 683 | 2.1497
|  | 684 | 2.1974
|  | 685 | 2.2522
|  | 686 | 2.3032
|  | 687 | 2.3581
|  | 688 | 2.4062
|  | 689 | 2.4605
|  | 690 | 2.515
|  | 691 | 2.5741
|  | 692 | 2.6268
|  | 693 | 2.6784
|  | 694 | 2.7283
|  | 695 | 2.7779
|  | 696 | 2.8274
|  | 697 | 2.8747
|  | 698 | 2.9224
|  | 699 | 2.9714
|  | 700 | 3.0212
|  | 701 | 3.0709
|  | 702 | 3.1134
|  | 703 | 3.1616
|  | 704 | 3.2034
|  | 705 | 3.2483
|  | 706 | 3.284
|  | 707 | 3.3231
|  | 708 | 3.3636
|  | 709 | 3.404
|  | 710 | 3.4456
|  | 711 | 3.478
|  | 712 | 3.5078
|  | 713 | 3.5392
|  | 714 | 3.5738
|  | 715 | 3.6079
|  | 716 | 3.6415
|  | 717 | 3.6727
|  | 718 | 3.7055
|  | 719 | 3.7273
|  | 720 | 3.76
|  | 721 | 3.7846
|  | 722 | 3.8175
|  | 723 | 3.8403
|  | 724 | 3.8615
|  | 725 | 3.8847
|  | 726 | 3.9062
|  | 727 | 3.9328
|  | 728 | 3.9549
|  | 729 | 3.9742
|  | 730 | 4.0012
|  | 731 | 4.0179
|  | 732 | 4.0417
|  | 733 | 4.0623
|  | 734 | 4.0802
|  | 735 | 4.0954
|  | 736 | 4.111
|  | 737 | 4.1314
|  | 738 | 4.1508
|  | 739 | 4.1665
|  | 740 | 4.1812
|  | 741 | 4.1936
|  | 742 | 4.2049
|  | 743 | 4.2256
|  | 744 | 4.2406
|  | 745 | 4.2597
|  | 746 | 4.2659
|  | 747 | 4.2799
|  | 748 | 4.2865
|  | 749 | 4.3038
|  | 750 | 4.319
|  | 751 | 4.336
|  | 752 | 4.3475
|  | 753 | 4.3573
|  | 754 | 4.3706
|  | 755 | 4.3846
|  | 756 | 4.3985
|  | 757 | 4.4123
|  | 758 | 4.4215
|  | 759 | 4.429
|  | 760 | 4.4313
|  | 761 | 4.4453
|  | 762 | 4.4549
|  | 763 | 4.4678
|  | 764 | 4.4704
|  | 765 | 4.4795
|  | 766 | 4.4878
|  | 767 | 4.501
|  | 768 | 4.5078
|  | 769 | 4.519
|  | 770 | 4.5213
|  | 771 | 4.5291
|  | 772 | 4.5306
|  | 773 | 4.5353
|  | 774 | 4.54
|  | 775 | 4.5473
|  | 776 | 4.5523
|  | 777 | 4.5607
|  | 778 | 4.568
|  | 779 | 4.5807
|  | 780 | 4.582
|  | 781 | 4.5864
|  | 782 | 4.5946
|  | 783 | 4.5976
|  | 784 | 4.5943
|  | 785 | 4.5916
|  | 786 | 4.5958
|  | 787 | 4.599
|  | 788 | 4.6009
|  | 789 | 4.6079
|  | 790 | 4.6172
|  | 791 | 4.6225
|  | 792 | 4.626
|  | 793 | 4.6254
|  | 794 | 4.6271
|  | 795 | 4.6285
|  | 796 | 4.6291
|  | 797 | 4.6276
|  | 798 | 4.63
|  | 799 | 4.6316
|  | 800 | 4.6338
|  | 801 | 4.6367
|  | 802 | 4.6353
|  | 803 | 4.6336
|  | 804 | 4.6277
|  | 805 | 4.6271
|  | 806 | 4.6279
|  | 807 | 4.6293
|  | 808 | 4.6306
|  | 809 | 4.6285
|  | 810 | 4.6235
|  | 811 | 4.6236
|  | 812 | 4.6277
|  | 813 | 4.6317
|  | 814 | 4.63
|  | 815 | 4.6269
|  | 816 | 4.6276
|  | 817 | 4.6229
|  | 818 | 4.6195
|  | 819 | 4.6091
|  | 820 | 4.6126
|  | 821 | 4.6057
|  | 822 | 4.6075
|  | 823 | 4.6001
|  | 824 | 4.5995
|  | 825 | 4.5977
|  | 826 | 4.6043
|  | 827 | 4.6024
|  | 828 | 4.6009
|  | 829 | 4.5943
|  | 830 | 4.5935
|  | 831 | 4.5842
|  | 832 | 4.5802
|  | 833 | 4.5793
|  | 834 | 4.5793
|  | 835 | 4.5744
|  | 836 | 4.5669
|  | 837 | 4.5635
|  | 838 | 4.5611
|  | 839 | 4.5586
|  | 840 | 4.5565
|  | 841 | 4.5504
|  | 842 | 4.5464
|  | 843 | 4.5369
|  | 844 | 4.531
|  | 845 | 4.5287
|  | 846 | 4.5258
|  | 847 | 4.5175
|  | 848 | 4.5039
|  | 849 | 4.4939
|  | 850 | 4.4938
|  | 851 | 4.4957
|  | 852 | 4.4923
|  | 853 | 4.4852
|  | 854 | 4.4791
|  | 855 | 4.4783
|  | 856 | 4.4701
|  | 857 | 4.4622
|  | 858 | 4.458
|  | 859 | 4.4585
|  | 860 | 4.442
|  | 861 | 4.3895
|  | 862 | 4.3021
|  | 863 | 4.2301
|  | 864 | 4.2021
|  | 865 | 4.2318
|  | 866 | 4.2855
|  | 867 | 4.3395
|  | 868 | 4.3336
|  | 869 | 4.2708
|  | 870 | 4.1961
|  | 871 | 4.1569
|  | 872 | 4.1483
|  | 873 | 4.1547
|  | 874 | 4.1806
|  | 875 | 4.2105
|  | 876 | 4.2246
|  | 877 | 4.2163
|  | 878 | 4.1891
|  | 879 | 4.155
|  | 880 | 4.1315
|  | 881 | 4.1482
|  | 882 | 4.1817
|  | 883 | 4.2088
|  | 884 | 4.1877
|  | 885 | 4.1285
|  | 886 | 4.0775
|  | 887 | 4.0925
|  | 888 | 4.1557
|  | 889 | 4.1774
|  | 890 | 4.1279
|  | 891 | 4.0563
|  | 892 | 4.0288
|  | 893 | 4.0562
|  | 894 | 4.1025
|  | 895 | 4.1365
|  | 896 | 4.1121
|  | 897 | 4.0482
|  | 898 | 3.9943
|  | 899 | 3.9881
|  | 900 | 4.0275
|  | 901 | 4.0635
|  | 902 | 4.0487
|  | 903 | 3.9824
|  | 904 | 3.93
|  | 905 | 3.9548
|  | 906 | 4.0213
|  | 907 | 4.0413
|  | 908 | 4.0085
|  | 909 | 3.9828
|  | 910 | 3.9745
|  | 911 | 3.9468
|  | 912 | 3.9023
|  | 913 | 3.8959
|  | 914 | 3.9095
|  | 915 | 3.9002
|  | 916 | 3.8655
|  | 917 | 3.8602
|  | 918 | 3.9083
|  | 919 | 3.9729
|  | 920 | 3.9978
|  | 921 | 3.9493
|  | 922 | 3.8807
|  | 923 | 3.8645
|  | 924 | 3.9106
|  | 925 | 3.9427
|  | 926 | 3.8976
|  | 927 | 3.8283
|  | 928 | 3.817
|  | 929 | 3.8769
|  | 930 | 3.9207
|  | 931 | 3.8724
|  | 932 | 3.7706
|  | 933 | 3.7118
|  | 934 | 3.743
|  | 935 | 3.8322
|  | 936 | 3.8742
|  | 937 | 3.8431
|  | 938 | 3.7881
|  | 939 | 3.7763
|  | 940 | 3.7928
|  | 941 | 3.8082
|  | 942 | 3.7954
|  | 943 | 3.7537
|  | 944 | 3.7162
|  | 945 | 3.7148
|  | 946 | 3.7425
|  | 947 | 3.7712
|  | 948 | 3.7637
|  | 949 | 3.7235
|  | 950 | 3.6894
|  | 951 | 3.6956
|  | 952 | 3.7171
|  | 953 | 3.6984
|  | 954 | 3.6587
|  | 955 | 3.6432
|  | 956 | 3.6643
|  | 957 | 3.6807
|  | 958 | 3.6973
|  | 959 | 3.6868
|  | 960 | 3.6572
|  | 961 | 3.6347
|  | 962 | 3.6309
|  | 963 | 3.6606
|  | 964 | 3.6776
|  | 965 | 3.6714
|  | 966 | 3.6682
|  | 967 | 3.6657
|  | 968 | 3.6511
|  | 969 | 3.5961
|  | 970 | 3.5636
|  | 971 | 3.5706
|  | 972 | 3.6181
|  | 973 | 3.6478
|  | 974 | 3.647
|  | 975 | 3.6216
|  | 976 | 3.6133
|  | 977 | 3.6142
|  | 978 | 3.607
|  | 979 | 3.6006
|  | 980 | 3.5988
|  | 981 | 3.581
|  | 982 | 3.5359
|  | 983 | 3.5215
|  | 984 | 3.5328
|  | 985 | 3.5502
|  | 986 | 3.5831
|  | 987 | 3.6231
|  | 988 | 3.6377
|  | 989 | 3.5887
|  | 990 | 3.5275
|  | 991 | 3.5267
|  | 992 | 3.546
|  | 993 | 3.551
|  | 994 | 3.5027
|  | 995 | 3.4526
|  | 996 | 3.4642
|  | 997 | 3.4973
|  | 998 | 3.5308
|  | 999 | 3.5215
|  | 1000 | 3.5356
|  | 1001 | 3.5506
|  | 1002 | 3.5465
|  | 1003 | 3.5011
|  | 1004 | 3.4618
|  | 1005 | 3.4891
|  | 1006 | 3.5367
|  | 1007 | 3.5708
|  | 1008 | 3.5361
|  | 1009 | 3.4836
|  | 1010 | 3.4566
|  | 1011 | 3.4775
|  | 1012 | 3.5142
|  | 1013 | 3.5384
|  | 1014 | 3.5157
|  | 1015 | 3.4728
|  | 1016 | 3.4377
|  | 1017 | 3.4606
|  | 1018 | 3.5159
|  | 1019 | 3.5389
|  | 1020 | 3.5152
|  | 1021 | 3.4561
|  | 1022 | 3.4254
|  | 1023 | 3.4447
|  | 1024 | 3.4931
|  | 1025 | 3.5262
|  | 1026 | 3.5009
|  | 1027 | 3.4688
|  | 1028 | 3.4502
|  | 1029 | 3.4798
|  | 1030 | 3.5123
|  | 1031 | 3.5322
|  | 1032 | 3.5107
|  | 1033 | 3.4687
|  | 1034 | 3.4239
|  | 1035 | 3.387
|  | 1036 | 3.4132
|  | 1037 | 3.4596
|  | 1038 | 3.5017
|  | 1039 | 3.4885
|  | 1040 | 3.4499
|  | 1041 | 3.4217
|  | 1042 | 3.4419
|  | 1043 | 3.4864
|  | 1044 | 3.5195
|  | 1045 | 3.5064
|  | 1046 | 3.4731
|  | 1047 | 3.4489
|  | 1048 | 3.4075
|  | 1049 | 3.3863
|  | 1050 | 3.4276
|  | 1051 | 3.4896
|  | 1052 | 3.5425
|  | 1053 | 3.5235
|  | 1054 | 3.4944
|  | 1055 | 3.4559
|  | 1056 | 3.4242
|  | 1057 | 3.3987
|  | 1058 | 3.4527
|  | 1059 | 3.5118
|  | 1060 | 3.573
|  | 1061 | 3.5704
|  | 1062 | 3.5522
|  | 1063 | 3.5258
|  | 1064 | 3.498
|  | 1065 | 3.4643
|  | 1066 | 3.4267
|  | 1067 | 3.3781
|  | 1068 | 3.3684
|  | 1069 | 3.4363
|  | 1070 | 3.5188
|  | 1071 | 3.5728
|  | 1072 | 3.572
|  | 1073 | 3.5669
|  | 1074 | 3.5533
|  | 1075 | 3.5175
|  | 1076 | 3.4667
|  | 1077 | 3.4329
|  | 1078 | 3.4847
|  | 1079 | 3.5536
|  | 1080 | 3.6071
|  | 1081 | 3.5752
|  | 1082 | 3.5335
|  | 1083 | 3.494
|  | 1084 | 3.4643
|  | 1085 | 3.5044
|  | 1086 | 3.5623
|  | 1087 | 3.6099
|  | 1088 | 3.6005
|  | 1089 | 3.575
|  | 1090 | 3.5482
|  | 1091 | 3.5126
|  | 1092 | 3.4905
|  | 1093 | 3.5552
|  | 1094 | 3.6202
|  | 1095 | 3.6832
|  | 1096 | 3.6623
|  | 1097 | 3.6297
|  | 1098 | 3.5799
|  | 1099 | 3.5446
|  | 1100 | 3.5167
|  | 1101 | 3.5234
|  | 1102 | 3.5924
|  | 1103 | 3.6641
|  | 1104 | 3.7294
|  | 1105 | 3.7305
|  | 1106 | 3.7331
|  | 1107 | 3.7124
|  | 1108 | 3.6986
|  | 1109 | 3.6933
|  | 1110 | 3.6895
|  | 1111 | 3.6682
|  | 1112 | 3.6529
|  | 1113 | 3.6327
|  | 1114 | 3.6173
|  | 1115 | 3.6143
|  | 1116 | 3.6078
|  | 1117 | 3.5971
|  | 1118 | 3.5638
|  | 1119 | 3.532
|  | 1120 | 3.506
|  | 1121 | 3.5281
|  | 1122 | 3.6298
|  | 1123 | 3.7211
|  | 1124 | 3.752
|  | 1125 | 3.7187
|  | 1126 | 3.7164
|  | 1127 | 3.7968
|  | 1128 | 3.8809
|  | 1129 | 3.9194
|  | 1130 | 3.838
|  | 1131 | 3.678
|  | 1132 | 3.5668
|  | 1133 | 3.5741
|  | 1134 | 3.7304
|  | 1135 | 3.8088
|  | 1136 | 3.7736
|  | 1137 | 3.6685
|  | 1138 | 3.712
|  | 1139 | 3.7922
|  | 1140 | 3.8755
|  | 1141 | 3.868
|  | 1142 | 3.8682
|  | 1143 | 3.8768
|  | 1144 | 3.8935
|  | 1145 | 3.9087
|  | 1146 | 3.8958
|  | 1147 | 3.8763
|  | 1148 | 3.8494
|  | 1149 | 3.8503
|  | 1150 | 3.8985
|  | 1151 | 3.9657
|  | 1152 | 4.0187
|  | 1153 | 4.014
|  | 1154 | 4.0015
|  | 1155 | 3.9902
|  | 1156 | 3.9856
|  | 1157 | 3.9721
|  | 1158 | 3.9537
|  | 1159 | 3.9351
|  | 1160 | 3.9169
|  | 1161 | 3.8949
|  | 1162 | 3.9016
|  | 1163 | 3.9733
|  | 1164 | 4.0699
|  | 1165 | 4.1323
|  | 1166 | 4.1516
|  | 1167 | 4.1414
|  | 1168 | 4.1565
|  | 1169 | 4.1648
|  | 1170 | 4.1854
|  | 1171 | 4.1935
|  | 1172 | 4.2004
|  | 1173 | 4.2059
|  | 1174 | 4.2174
|  | 1175 | 4.2267
|  | 1176 | 4.2351
|  | 1177 | 4.252
|  | 1178 | 4.2765
|  | 1179 | 4.3044
|  | 1180 | 4.3089
|  | 1181 | 4.2977
|  | 1182 | 4.2598
|  | 1183 | 4.2381
|  | 1184 | 4.216
|  | 1185 | 4.2542
|  | 1186 | 4.3703
|  | 1187 | 4.5534
|  | 1188 | 4.7627
|  | 1189 | 4.8421
|  | 1190 | 4.6886
|  | 1191 | 4.4724
|  | 1192 | 4.3039
|  | 1193 | 4.3177
|  | 1194 | 4.3224
|  | 1195 | 4.3229
|  | 1196 | 4.3373
|  | 1197 | 4.4229
|  | 1198 | 4.4954
|  | 1199 | 4.5276
|  | 1200 | 4.4816
|  | 1201 | 4.4655
|  | 1202 | 4.517
|  | 1203 | 4.5666
|  | 1204 | 4.5826
|  | 1205 | 4.5632
|  | 1206 | 4.6265
|  | 1207 | 4.7046
|  | 1208 | 4.7512
|  | 1209 | 4.7259
|  | 1210 | 4.6976
|  | 1211 | 4.6907
|  | 1212 | 4.6969
|  | 1213 | 4.715
|  | 1214 | 4.7474
|  | 1215 | 4.7875
|  | 1216 | 4.8305
|  | 1217 | 4.8151
|  | 1218 | 4.7487
|  | 1219 | 4.694
|  | 1220 | 4.7003
|  | 1221 | 4.7667
|  | 1222 | 4.8327
|  | 1223 | 4.8563
|  | 1224 | 4.8243
|  | 1225 | 4.7822
|  | 1226 | 4.7713
|  | 1227 | 4.8089
|  | 1228 | 4.8401
|  | 1229 | 4.8787
|  | 1230 | 4.9281
|  | 1231 | 4.9687
|  | 1232 | 4.9899
|  | 1233 | 4.9897
|  | 1234 | 5.0035
|  | 1235 | 5.0023
|  | 1236 | 4.9929
|  | 1237 | 5.0275
|  | 1238 | 5.1349
|  | 1239 | 5.2401
|  | 1240 | 5.2875
|  | 1241 | 5.2744
|  | 1242 | 5.2607
|  | 1243 | 5.2425
|  | 1244 | 5.2348
|  | 1245 | 5.2902
|  | 1246 | 5.4221
|  | 1247 | 5.5599
|  | 1248 | 5.6442
|  | 1249 | 5.5941
|  | 1250 | 5.4626
|  | 1251 | 5.3475
|  | 1252 | 5.3157
|  | 1253 | 5.3779
|  | 1254 | 5.4495
|  | 1255 | 5.5238
|  | 1256 | 5.5841
|  | 1257 | 5.592
|  | 1258 | 5.5655
|  | 1259 | 5.5485
|  | 1260 | 5.5887
|  | 1261 | 5.6534
|  | 1262 | 5.6574
|  | 1263 | 5.6062
|  | 1264 | 5.5755
|  | 1265 | 5.6236
|  | 1266 | 5.7253
|  | 1267 | 5.8278
|  | 1268 | 5.8944
|  | 1269 | 5.8716
|  | 1270 | 5.7715
|  | 1271 | 5.6754
|  | 1272 | 5.6432
|  | 1273 | 5.6772
|  | 1274 | 5.7755
|  | 1275 | 5.9243
|  | 1276 | 6.0697
|  | 1277 | 6.1563
|  | 1278 | 6.1716
|  | 1279 | 6.1737
|  | 1280 | 6.1609
|  | 1281 | 6.1481
|  | 1282 | 6.1293
|  | 1283 | 6.1707
|  | 1284 | 6.2789
|  | 1285 | 6.3875
|  | 1286 | 6.4428
|  | 1287 | 6.454
|  | 1288 | 6.4789
|  | 1289 | 6.4997
|  | 1290 | 6.507
|  | 1291 | 6.5092
|  | 1292 | 6.5126
|  | 1293 | 6.5324
|  | 1294 | 6.5648
|  | 1295 | 6.6199
|  | 1296 | 6.6983
|  | 1297 | 6.77
|  | 1298 | 6.7995
|  | 1299 | 6.747
|  | 1300 | 6.6534
|  | 1301 | 6.5991
|  | 1302 | 6.6367
|  | 1303 | 6.7436
|  | 1304 | 6.8461
|  | 1305 | 6.9436
|  | 1306 | 7.0628
|  | 1307 | 7.1901
|  | 1308 | 7.1927
|  | 1309 | 7.1036
|  | 1310 | 7.0031
|  | 1311 | 6.9648
|  | 1312 | 6.9645
|  | 1313 | 6.9661
|  | 1314 | 7.0013
|  | 1315 | 7.0555
|  | 1316 | 7.0896
|  | 1317 | 7.1379
|  | 1318 | 7.1878
|  | 1319 | 7.2684
|  | 1320 | 7.3319
|  | 1321 | 7.3784
|  | 1322 | 7.4279
|  | 1323 | 7.4849
|  | 1324 | 7.5378
|  | 1325 | 7.5815
|  | 1326 | 7.6357
|  | 1327 | 7.7143
|  | 1328 | 7.8022
|  | 1329 | 7.9024
|  | 1330 | 8.0258
|  | 1331 | 8.116
|  | 1332 | 8.0549
|  | 1333 | 7.9072
|  | 1334 | 7.7849
|  | 1335 | 7.8211
|  | 1336 | 7.9179
|  | 1337 | 8.034
|  | 1338 | 8.1433
|  | 1339 | 8.2518
|  | 1340 | 8.2535
|  | 1341 | 8.2172
|  | 1342 | 8.2612
|  | 1343 | 8.404
|  | 1344 | 8.4405
|  | 1345 | 8.2745
|  | 1346 | 8.1752
|  | 1347 | 8.3412
|  | 1348 | 8.6605
|  | 1349 | 8.8021
|  | 1350 | 8.6678
|  | 1351 | 8.2775
|  | 1352 | 7.892
|  | 1353 | 7.8707
|  | 1354 | 8.5273
|  | 1355 | 9.4387
|  | 1356 | 9.7897
|  | 1357 | 9.1477
|  | 1358 | 7.9667
|  | 1359 | 7.1619
|  | 1360 | 7.4343
|  | 1361 | 8.4913
|  | 1362 | 9.3726
|  | 1363 | 9.668
|  | 1364 | 9.4781
|  | 1365 | 9.1471
|  | 1366 | 8.8651
|  | 1367 | 8.6733
|  | 1368 | 8.6559
|  | 1369 | 8.7293
|  | 1370 | 9.0862
|  | 1371 | 9.6406
|  | 1372 | 10.0661
|  | 1373 | 10.165
|  | 1374 | 10.2754
|  | 1375 | 10.5447
|  | 1376 | 10.6658
|  | 1377 | 10.1416
|  | 1378 | 8.9144
|  | 1379 | 7.7148
|  | 1380 | 7.324
|  | 1381 | 8.03
|  | 1382 | 9.4037
|  | 1383 | 10.4572
|  | 1384 | 10.5911
|  | 1385 | 9.9995
|  | 1386 | 9.6621
|  | 1387 | 10.2071
|  | 1388 | 11.0064
|  | 1389 | 11.05
|  | 1390 | 10.3825
|  | 1391 | 9.5893
|  | 1392 | 9.0865
|  | 1393 | 8.9016
|  | 1394 | 9.5876
|  | 1395 | 10.9335
|  | 1396 | 11.2033
|  | 1397 | 10.0443
|  | 1398 | 8.7653
|  | 1399 | 9.4621
|  | 1400 | 11.1651
|  | 1401 | 11.7623
|  | 1402 | 11.0382
|  | 1403 | 10.1344
|  | 1404 | 10.1337
|  | 1405 | 10.2026
|  | 1406 | 10.0253
|  | 1407 | 10.0903
|  | 1408 | 10.8451
|  | 1409 | 11.7137
|  | 1410 | 11.7101
|  | 1411 | 10.9271
|  | 1412 | 10.2133
|  | 1413 | 10.4569
|  | 1414 | 10.9192
|  | 1415 | 11.0448
|  | 1416 | 10.6982
|  | 1417 | 10.6668
|  | 1418 | 10.9246
|  | 1419 | 11.2051
|  | 1420 | 11.1304
|  | 1421 | 10.9395
|  | 1422 | 11.0743
|  | 1423 | 11.4998
|  | 1424 | 11.8741
|  | 1425 | 11.6794
|  | 1426 | 11.3391
|  | 1427 | 11.1532
|  | 1428 | 11.1915
|  | 1429 | 11.2378
|  | 1430 | 11.3328
|  | 1431 | 11.5092
|  | 1432 | 11.6418
|  | 1433 | 11.6509
|  | 1434 | 11.6452
|  | 1435 | 11.7338
|  | 1436 | 11.911
|  | 1437 | 12.1396
|  | 1438 | 12.232
|  | 1439 | 12.0262
|  | 1440 | 11.7765
|  | 1441 | 11.6302
|  | 1442 | 11.7052
|  | 1443 | 11.8491
|  | 1444 | 12.1947
|  | 1445 | 12.5061
|  | 1446 | 12.555
|  | 1447 | 12.1365
|  | 1448 | 11.8834
|  | 1449 | 11.9681
|  | 1450 | 12.3089
|  | 1451 | 12.4896
|  | 1452 | 12.4962
|  | 1453 | 12.5263
|  | 1454 | 12.6582
|  | 1455 | 12.8735
|  | 1456 | 13.0231
|  | 1457 | 12.8608
|  | 1458 | 12.6604
|  | 1459 | 12.6066
|  | 1460 | 12.8123
|  | 1461 | 12.9144
|  | 1462 | 12.7732
|  | 1463 | 12.67
|  | 1464 | 12.6884
|  | 1465 | 12.9059
|  | 1466 | 12.9555
|  | 1467 | 12.6804
|  | 1468 | 12.3971
|  | 1469 | 12.3065
|  | 1470 | 12.8525
|  | 1471 | 13.3883
|  | 1472 | 13.8188
|  | 1473 | 13.7779
|  | 1474 | 13.3577
|  | 1475 | 13.0008
|  | 1476 | 12.7724
|  | 1477 | 12.8694
|  | 1478 | 12.9265
|  | 1479 | 13.3425
|  | 1480 | 13.7927
|  | 1481 | 14.231
|  | 1482 | 14.1384
|  | 1483 | 13.8212
|  | 1484 | 13.5018
|  | 1485 | 13.3628
|  | 1486 | 13.4467
|  | 1487 | 13.4758
|  | 1488 | 13.481
|  | 1489 | 13.465
|  | 1490 | 13.5106
|  | 1491 | 13.5582
|  | 1492 | 13.6008
|  | 1493 | 13.7134
|  | 1494 | 13.817
|  | 1495 | 14.0203
|  | 1496 | 14.1807
|  | 1497 | 14.3764
|  | 1498 | 14.3958
|  | 1499 | 14.1499
|  | 1500 | 13.8612
|  | 1501 | 13.7282
|  | 1502 | 13.8402
|  | 1503 | 14.0483
|  | 1504 | 14.2218
|  | 1505 | 14.5033
|  | 1506 | 14.5797
|  | 1507 | 14.3927
|  | 1508 | 14.1544
|  | 1509 | 14.0939
|  | 1510 | 14.2469
|  | 1511 | 14.4114
|  | 1512 | 14.5597
|  | 1513 | 14.7096
|  | 1514 | 14.5268
|  | 1515 | 14.3623
|  | 1516 | 14.2672
|  | 1517 | 14.4541
|  | 1518 | 14.6998
|  | 1519 | 14.9067
|  | 1520 | 14.9792
|  | 1521 | 14.7635
|  | 1522 | 14.5536
|  | 1523 | 14.4929
|  | 1524 | 14.6077
|  | 1525 | 14.7291
|  | 1526 | 14.8545
|  | 1527 | 15.0391
|  | 1528 | 15.0937
|  | 1529 | 14.8422
|  | 1530 | 14.6138
|  | 1531 | 14.5108
|  | 1532 | 14.6426
|  | 1533 | 14.7553
|  | 1534 | 14.8783
|  | 1535 | 15.0665
|  | 1536 | 15.2222
|  | 1537 | 15.3713
|  | 1538 | 15.3842
|  | 1539 | 15.1792
|  | 1540 | 14.9528
|  | 1541 | 14.8402
|  | 1542 | 14.9516
|  | 1543 | 15.0263
|  | 1544 | 15.1426
|  | 1545 | 15.2651
|  | 1546 | 15.4565
|  | 1547 | 15.5638
|  | 1548 | 15.509
|  | 1549 | 15.2632
|  | 1550 | 15.0246
|  | 1551 | 14.9053
|  | 1552 | 14.9836
|  | 1553 | 15.1863
|  | 1554 | 15.4492
|  | 1555 | 15.7383
|  | 1556 | 15.7522
|  | 1557 | 15.4883
|  | 1558 | 15.1581
|  | 1559 | 15.0713
|  | 1560 | 15.2213
|  | 1561 | 15.4196
|  | 1562 | 15.6213
|  | 1563 | 15.8801
|  | 1564 | 15.9844
|  | 1565 | 15.7835
|  | 1566 | 15.5313
|  | 1567 | 15.4608
|  | 1568 | 15.6687
|  | 1569 | 15.8711
|  | 1570 | 15.8397
|  | 1571 | 15.5551
|  | 1572 | 15.3285
|  | 1573 | 15.2757
|  | 1574 | 15.5149
|  | 1575 | 15.723
|  | 1576 | 15.8898
|  | 1577 | 15.8387
|  | 1578 | 15.5881
|  | 1579 | 15.4214
|  | 1580 | 15.349
|  | 1581 | 15.4664
|  | 1582 | 15.6074
|  | 1583 | 15.817
|  | 1584 | 16.0183
|  | 1585 | 16.0838
|  | 1586 | 16.0172
|  | 1587 | 15.7711
|  | 1588 | 15.5606
|  | 1589 | 15.4253
|  | 1590 | 15.4312
|  | 1591 | 15.4311
|  | 1592 | 15.4898
|  | 1593 | 15.6001
|  | 1594 | 15.7169
|  | 1595 | 15.781
|  | 1596 | 15.7868
|  | 1597 | 15.8453
|  | 1598 | 15.9254
|  | 1599 | 15.9794
|  | 1600 | 16.0058
|  | 1601 | 16.0576
|  | 1602 | 16.174
|  | 1603 | 16.3115
|  | 1604 | 16.435
|  | 1605 | 16.5447
|  | 1606 | 16.6113
|  | 1607 | 16.5462
|  | 1608 | 16.234
|  | 1609 | 15.9077
|  | 1610 | 15.7274
|  | 1611 | 15.7653
|  | 1612 | 15.8513
|  | 1613 | 15.9402
|  | 1614 | 16.003
|  | 1615 | 16.0089
|  | 1616 | 15.9828
|  | 1617 | 15.9758
|  | 1618 | 15.9962
|  | 1619 | 16.0488
|  | 1620 | 16.1453
|  | 1621 | 16.2943
|  | 1622 | 16.4139
|  | 1623 | 16.3556
|  | 1624 | 16.1175
|  | 1625 | 15.9262
|  | 1626 | 15.8804
|  | 1627 | 15.9892
|  | 1628 | 16.0959
|  | 1629 | 16.2608
|  | 1630 | 16.3672
|  | 1631 | 16.2596
|  | 1632 | 15.985
|  | 1633 | 15.818
|  | 1634 | 15.8728
|  | 1635 | 16.0663
|  | 1636 | 16.2479
|  | 1637 | 16.3685
|  | 1638 | 16.2823
|  | 1639 | 16.0339
|  | 1640 | 15.8535
|  | 1641 | 15.9187
|  | 1642 | 16.1538
|  | 1643 | 16.349
|  | 1644 | 16.3258
|  | 1645 | 16.0666
|  | 1646 | 15.784
|  | 1647 | 15.7292
|  | 1648 | 15.9151
|  | 1649 | 16.1304
|  | 1650 | 16.3341
|  | 1651 | 16.4602
|  | 1652 | 16.3563
|  | 1653 | 16.0638
|  | 1654 | 15.8168
|  | 1655 | 15.7736
|  | 1656 | 15.8884
|  | 1657 | 16.0389
|  | 1658 | 16.2531
|  | 1659 | 16.4685
|  | 1660 | 16.6308
|  | 1661 | 16.7771
|  | 1662 | 16.9048
|  | 1663 | 16.8515
|  | 1664 | 16.5809
|  | 1665 | 16.2851
|  | 1666 | 16.2208
|  | 1667 | 16.454
|  | 1668 | 16.7921
|  | 1669 | 16.8954
|  | 1670 | 16.5875
|  | 1671 | 16.1164
|  | 1672 | 15.8098
|  | 1673 | 15.7832
|  | 1674 | 15.8654
|  | 1675 | 15.9913
|  | 1676 | 16.1321
|  | 1677 | 16.2952
|  | 1678 | 16.3869
|  | 1679 | 16.2609
|  | 1680 | 16.0043
|  | 1681 | 15.749
|  | 1682 | 15.7228
|  | 1683 | 15.8177
|  | 1684 | 15.9174
|  | 1685 | 16.0092
|  | 1686 | 16.1489
|  | 1687 | 16.3739
|  | 1688 | 16.5344
|  | 1689 | 16.3775
|  | 1690 | 16.0638
|  | 1691 | 15.8265
|  | 1692 | 15.8547
|  | 1693 | 16.004
|  | 1694 | 16.1233
|  | 1695 | 16.2095
|  | 1696 | 16.2717
|  | 1697 | 16.3653
|  | 1698 | 16.3964
|  | 1699 | 16.2039
|  | 1700 | 15.8767
|  | 1701 | 15.6059
|  | 1702 | 15.6123
|  | 1703 | 15.7522
|  | 1704 | 15.8851
|  | 1705 | 15.8975
|  | 1706 | 15.8829
|  | 1707 | 15.9077
|  | 1708 | 15.996
|  | 1709 | 16.108
|  | 1710 | 16.1922
|  | 1711 | 16.326
|  | 1712 | 16.4976
|  | 1713 | 16.6137
|  | 1714 | 16.4406
|  | 1715 | 16.1139
|  | 1716 | 15.8249
|  | 1717 | 15.7887
|  | 1718 | 15.8315
|  | 1719 | 15.861
|  | 1720 | 15.9262
|  | 1721 | 16.0159
|  | 1722 | 16.1041
|  | 1723 | 16.1009
|  | 1724 | 16.1057
|  | 1725 | 16.185
|  | 1726 | 16.34
|  | 1727 | 16.5091
|  | 1728 | 16.5871
|  | 1729 | 16.3759
|  | 1730 | 16.0914
|  | 1731 | 15.8583
|  | 1732 | 15.8403
|  | 1733 | 15.8424
|  | 1734 | 15.8418
|  | 1735 | 15.8515
|  | 1736 | 15.8496
|  | 1737 | 15.876
|  | 1738 | 15.9502
|  | 1739 | 16.0284
|  | 1740 | 16.1351
|  | 1741 | 16.2296
|  | 1742 | 16.3472
|  | 1743 | 16.4384
|  | 1744 | 16.5799
|  | 1745 | 16.6446
|  | 1746 | 16.3999
|  | 1747 | 16.0758
|  | 1748 | 15.8387
|  | 1749 | 15.8435
|  | 1750 | 15.8684
|  | 1751 | 15.9159
|  | 1752 | 15.9696
|  | 1753 | 16.0087
|  | 1754 | 16.0461
|  | 1755 | 16.1188
|  | 1756 | 16.2187
|  | 1757 | 16.2607
|  | 1758 | 16.382
|  | 1759 | 16.4889
|  | 1760 | 16.65
|  | 1761 | 16.7063
|  | 1762 | 16.4887
|  | 1763 | 16.1671
|  | 1764 | 15.8558
|  | 1765 | 15.8237
|  | 1766 | 15.8477
|  | 1767 | 15.8715
|  | 1768 | 15.8693
|  | 1769 | 15.8799
|  | 1770 | 15.8638
|  | 1771 | 15.7827
|  | 1772 | 15.7035
|  | 1773 | 15.6884
|  | 1774 | 15.7099
|  | 1775 | 15.7013
|  | 1776 | 15.692
|  | 1777 | 15.8705
|  | 1778 | 16.123
|  | 1779 | 16.3296
|  | 1780 | 16.5276
|  | 1781 | 16.7679
|  | 1782 | 16.9166
|  | 1783 | 16.8023
|  | 1784 | 16.5972
|  | 1785 | 16.6213
|  | 1786 | 16.7427
|  | 1787 | 16.7657
|  | 1788 | 16.5616
|  | 1789 | 16.3365
|  | 1790 | 16.2926
|  | 1791 | 16.3318
|  | 1792 | 16.4677
|  | 1793 | 16.6266
|  | 1794 | 16.8221
|  | 1795 | 17.1161
|  | 1796 | 17.2432
|  | 1797 | 17.0003
|  | 1798 | 16.485
|  | 1799 | 16.1604
|  | 1800 | 16.3244
|  | 1801 | 16.6531
|  | 1802 | 16.7357
|  | 1803 | 16.518
|  | 1804 | 16.3855
|  | 1805 | 16.5329
|  | 1806 | 16.8946
|  | 1807 | 17.02
|  | 1808 | 16.7759
|  | 1809 | 16.4247
|  | 1810 | 16.3342
|  | 1811 | 16.2298
|  | 1812 | 16.3374
|  | 1813 | 16.5165
|  | 1814 | 17.284
|  | 1815 | 17.8977
|  | 1816 | 17.471
|  | 1817 | 15.9143
|  | 1818 | 14.3343
|  | 1819 | 14.1549
|  | 1820 | 15.9776
|  | 1821 | 18.3304
|  | 1822 | 19.5464
|  | 1823 | 18.7137
|  | 1824 | 17.0425
|  | 1825 | 15.82
|  | 1826 | 15.3336
|  | 1827 | 15.3414
|  | 1828 | 15.8667
|  | 1829 | 17.0433
|  | 1830 | 18.4525
|  | 1831 | 18.8297
|  | 1832 | 18.0211
|  | 1833 | 16.4428
|  | 1834 | 15.6037
|  | 1835 | 15.4901
|  | 1836 | 15.4944
|  | 1837 | 14.9173
|  | 1838 | 14.3068
|  | 1839 | 14.9258
|  | 1840 | 16.0024
|  | 1841 | 16.99
|  | 1842 | 16.99
|  | 1843 | 16.99
|  | 1844 | 17.5352
|  | 1845 | 17.5352
|  | 1846 | 17.5352
|  | 1847 | 16.99
|  | 1848 | 18.4107
|  | 1849 | 18.9686
|  | 1850 | 19.5265
|  | 1851 | 18.6635
|  | 1852 | 17.8183
|  | 1853 | 17.7764
|  | 1854 | 17.7124
|  | 1855 | 17.9707
|  | 1856 | 17.9486
|  | 1857 | 17.9787
|  | 1858 | 17.7249
|  | 1859 | 17.755
|  | 1860 | 18.3912
|  | 1861 | 20.159
|  | 1862 | 20.8267
|  | 1863 | 20.0946
|  | 1864 | 19.3392
|  | 1865 | 18.2018
|  | 1866 | 17.828
|  | 1867 | 16.2636
|  | 1868 | 16.9388
|  | 1869 | 17.614
|  | 1870 | 19.1784
|  | 1871 | 19.1784
|  | 1872 | 18.5032
|  | 1873 | 18.0406
|  | 1874 | 17.5836
|  | 1875 | 18.2588
|  | 1876 | 19.134
|  | 1877 | 19.8997
|  | 1878 | 19.6876
|  | 1879 | 18.4509
|  | 1880 | 17.1373
|  | 1881 | 16.5975
|  | 1882 | 17.0476
|  | 1883 | 17.861
|  | 1884 | 18.4007
|  | 1885 | 18.5524
|  | 1886 | 18.3245
|  | 1887 | 17.4881
|  | 1888 | 16.5681
|  | 1889 | 16.0058
|  | 1890 | 16.4338
|  | 1891 | 17.7664
|  | 1892 | 19.2941
|  | 1893 | 20.1441
|  | 1894 | 19.5788
|  | 1895 | 17.8717
|  | 1896 | 16.1852
|  | 1897 | 15.4419
|  | 1898 | 16.196
|  | 1899 | 17.6346
|  | 1900 | 18.5582
|  | 1901 | 18.2981
|  | 1902 | 18.1219
|  | 1903 | 18.1219
|  | 1904 | 18.5947
|  | 1905 | 19.0713
|  | 1906 | 20.0482
|  | 1907 | 20.7379
|  | 1908 | 20.0212
|  | 1909 | 18.1825
|  | 1910 | 16.5293
|  | 1911 | 16.2305
|  | 1912 | 16.9812
|  | 1913 | 18.5289
|  | 1914 | 19.7381
|  | 1915 | 19.9694
|  | 1916 | 18.7233
|  | 1917 | 16.796
|  | 1918 | 15.5063
|  | 1919 | 15.4863
|  | 1920 | 16.6871
|  | 1921 | 18.0297
|  | 1922 | 18.756
|  | 1923 | 18.6082
|  | 1924 | 18.0413
|  | 1925 | 17.5422
|  | 1926 | 17.3675
|  | 1927 | 17.6489
|  | 1928 | 18.1488
|  | 1929 | 18.5227
|  | 1930 | 18.5995
|  | 1931 | 18.4375
|  | 1932 | 18.3586
|  | 1933 | 18.3041
|  | 1934 | 18.2035
|  | 1935 | 18.1806
|  | 1936 | 18.0865
|  | 1937 | 18.0356
|  | 1938 | 18.1348
|  | 1939 | 18.5167
|  | 1940 | 19.0369
|  | 1941 | 19.089
|  | 1942 | 18.7406
|  | 1943 | 18.4435
|  | 1944 | 18.2943
|  | 1945 | 18.4811
|  | 1946 | 18.6727
|  | 1947 | 18.8975
|  | 1948 | 18.8353
|  | 1949 | 18.6722
|  | 1950 | 18.5667
|  | 1951 | 18.5049
|  | 1952 | 18.4667
|  | 1953 | 18.5993
|  | 1954 | 18.8379
|  | 1955 | 18.8281
|  | 1956 | 18.5861
|  | 1957 | 18.6243
|  | 1958 | 18.979
|  | 1959 | 19.2314
|  | 1960 | 19.0502
|  | 1961 | 18.77
|  | 1962 | 18.7684
|  | 1963 | 18.8914
|  | 1964 | 19.0709
|  | 1965 | 18.9896
|  | 1966 | 19.0698
|  | 1967 | 19.1848
|  | 1968 | 19.3053
|  | 1969 | 19.2036
|  | 1970 | 18.9538
|  | 1971 | 18.9456
|  | 1972 | 19.3291
|  | 1973 | 19.6694
|  | 1974 | 19.8282
|  | 1975 | 19.6573
|  | 1976 | 19.6114
|  | 1977 | 19.5988
|  | 1978 | 19.5247
|  | 1979 | 19.4304
|  | 1980 | 19.32
|  | 1981 | 19.2895
|  | 1982 | 19.2525
|  | 1983 | 19.2592
|  | 1984 | 19.2822
|  | 1985 | 19.31
|  | 1986 | 19.3787
|  | 1987 | 19.493
|  | 1988 | 19.6617
|  | 1989 | 19.8309
|  | 1990 | 19.9655
|  | 1991 | 19.8514
|  | 1992 | 19.5425
|  | 1993 | 19.2805
|  | 1994 | 19.3219
|  | 1995 | 19.5816
|  | 1996 | 19.8852
|  | 1997 | 20.1273
|  | 1998 | 20.1094
|  | 1999 | 19.8235
|  | 2000.0658 | 19.4838
|  | 2009.9427 | 19.3419
|  | 2020.0986 | 19.5473
|  | 2029.9693 | 19.7388
|  | 2039.837 | 20.0748
|  | 2049.9835 | 20.1839
|  | 2059.845 | 20.4076
|  | 2069.985 | 20.6204
|  | 2079.8403 | 20.9433
|  | 2089.9739 | 21.2179
|  | 2099.8228 | 21.4606
|  | 2109.9499 | 21.6387
|  | 2119.7925 | 21.8747
|  | 2129.913 | 22.2333
|  | 2140.0301 | 22.5523
|  | 2149.8629 | 22.9139
|  | 2159.9734 | 23.0156
|  | 2169.7997 | 23.2292
|  | 2179.9034 | 23.4057
|  | 2190.0037 | 23.708
|  | 2199.8201 | 23.9443
|  | 2209.9135 | 24.1198
|  | 2219.7232 | 24.276
|  | 2229.8097 | 24.4014
|  | 2239.8927 | 24.6869
|  | 2249.6922 | 25.0173
|  | 2259.7683 | 25.5011
|  | 2269.8407 | 25.8161
|  | 2279.9096 | 26.1657
|  | 2289.6953 | 26.4448
|  | 2299.757 | 26.7488
|  | 2309.8151 | 27.0459
|  | 2319.8696 | 27.2846
|  | 2329.6413 | 27.6346
|  | 2339.6885 | 27.8433
|  | 2349.732 | 28.0807
|  | 2359.7718 | 28.2449
|  | 2369.8079 | 28.3876
|  | 2379.8403 | 28.7
|  | 2389.5903 | 28.843
|  | 2399.6153 | 28.9771
|  | 2409.6364 | 29.0463
|  | 2419.6537 | 29.2238
|  | 2429.6672 | 29.5243
|  | 2439.6769 | 29.7495
|  | 2449.6827 | 30.0381
|  | 2459.6847 | 30.2356
|  | 2469.6827 | 30.4354
|  | 2479.6769 | 30.62
|  | 2489.6672 | 30.7861
|  | 2499.6535 | 30.9255
|  | 2509.6359 | 31.0529
|  | 2519.6143 | 31.1762
|  | 2529.5887 | 31.2764
|  | 2539.5591 | 31.4731
|  | 2549.5256 | 31.6391
|  | 2559.488 | 31.9085
|  | 2569.7229 | 32.0021
|  | 2579.6771 | 32.1982
|  | 2589.6272 | 32.4113
|  | 2599.5732 | 32.5089
|  | 2609.5151 | 32.6875
|  | 2619.4529 | 32.7547
|  | 2629.6624 | 32.8967
|  | 2639.5918 | 33.086
|  | 2649.5171 | 33.3195
|  | 2659.4381 | 33.5012
|  | 2669.6304 | 33.4158
|  | 2679.5429 | 33.2361
|  | 2689.4511 | 33.1512
|  | 2699.6302 | 32.8124
|  | 2709.5299 | 31.9326
|  | 2719.4252 | 30.1831
|  | 2729.591 | 27.0223
|  | 2739.4777 | 22.9937
|  | 2749.36 | 18.3368
|  | 2759.5123 | 14.5381
|  | 2769.3858 | 11.3373
|  | 2779.529 | 9.1332
|  | 2789.3936 | 7.495
|  | 2799.5277 | 6.6535
|  | 2809.3833 | 6.2403
|  | 2819.5081 | 6.02
|  | 2829.3548 | 5.7888
|  | 2839.4703 | 5.5457
|  | 2849.3079 | 5.4861
|  | 2859.414 | 5.5039
|  | 2869.5154 | 5.5742
|  | 2879.3392 | 5.6521
|  | 2889.4311 | 5.7949
|  | 2899.2457 | 6.1636
|  | 2909.3281 | 6.443
|  | 2919.4056 | 6.6833
|  | 2929.2061 | 6.6894
|  | 2939.2741 | 6.7977
|  | 2949.3371 | 6.9862
|  | 2959.3952 | 7.2365
|  | 2969.1767 | 7.522
|  | 2979.2251 | 7.6838
|  | 2989.2684 | 8.1244
|  | 2999.3068 | 8.2477
|  | 3009.3402 | 8.4368
|  | 3019.3686 | 8.4955
|  | 3029.3919 | 8.8741
|  | 3039.1395 | 9.3298
|  | 3049.1528 | 9.5851
|  | 3059.1611 | 9.8575
|  | 3069.1643 | 10.0172
|  | 3079.1623 | 10.1365
|  | 3089.1552 | 10.4125
|  | 3099.1429 | 10.7226
|  | 3109.1255 | 11.1722
|  | 3119.1029 | 11.4306
|  | 3129.0751 | 11.8168
|  | 3139.3114 | 12.1496
|  | 3149.273 | 12.4952
|  | 3159.2293 | 12.8135
|  | 3169.1804 | 13.2185
|  | 3179.1261 | 13.7174
|  | 3189.0666 | 13.9747
|  | 3199.2702 | 14.2869
|  | 3209.1999 | 14.5315
|  | 3219.1242 | 14.8917
|  | 3229.0432 | 15.1568
|  | 3239.2246 | 15.3947
|  | 3249.1326 | 15.7558
|  | 3259.0352 | 16.0723
|  | 3269.1998 | 16.2774
|  | 3279.0914 | 16.3478
|  | 3288.9775 | 16.455
|  | 3299.125 | 16.6666
|  | 3309 | 16.8929
|  | 3319.1361 | 16.8722
|  | 3328.9998 | 16.7454
|  | 3339.1244 | 16.5265
|  | 3348.9769 | 16.272
|  | 3359.0898 | 15.809
|  | 3368.9309 | 15.1747
|  | 3379.0322 | 14.725
|  | 3389.1275 | 14.2844
|  | 3398.9514 | 13.8869
|  | 3409.035 | 13.1857
|  | 3419.1125 | 12.2674
|  | 3428.9191 | 11.2031
|  | 3438.9847 | 10.3296
|  | 3449.0443 | 9.5186
|  | 3458.8333 | 8.7104
|  | 3468.8809 | 8.0157
|  | 3478.9224 | 7.3491
|  | 3488.9578 | 6.7639
|  | 3498.987 | 5.9292
|  | 3509.0101 | 5.2074
|  | 3519.027 | 4.6315
|  | 3529.0377 | 4.2542
|  | 3538.779 | 3.7914
|  | 3548.7774 | 3.2442
|  | 3558.7696 | 2.9553
|  | 3568.7556 | 2.8196
|  | 3578.9978 | 2.7033
|  | 3588.971 | 2.7033
|  | 3598.9378 | 2.5234
|  | 3608.8984 | 2.3796
|  | 3618.8526 | 2.2634
|  | 3628.8004 | 2.1662
|  | 3638.7418 | 2.0683
|  | 3648.9383 | 1.9779
|  | 3658.8667 | 1.9167
|  | 3668.7887 | 1.8462
|  | 3678.7043 | 1.789
|  | 3688.874 | 1.7394
|  | 3698.7765 | 1.7134
|  | 3708.6724 | 1.703
|  | 3718.8219 | 1.7019
|  | 3728.7046 | 1.7284
|  | 3738.8405 | 1.7543
|  | 3748.7099 | 1.7862
|  | 3758.8321 | 1.7969
|  | 3768.6881 | 1.8116
|  | 3778.7966 | 1.832
|  | 3788.6391 | 1.8877
|  | 3798.7337 | 1.959
|  | 3808.8213 | 2.0289
|  | 3818.6434 | 2.1038
|  | 3828.717 | 2.1849
|  | 3838.7835 | 2.2834
|  | 3848.5851 | 2.3728
|  | 3858.6376 | 2.4503
|  | 3868.6829 | 2.5259
|  | 3878.721 | 2.6
|  | 3888.7519 | 2.6823
|  | 3898.5188 | 2.7479
|  | 3908.5355 | 2.798
|  | 3918.5449 | 2.8379
|  | 3928.5471 | 2.8699
|  | 3938.542 | 2.9011
|  | 3948.5296 | 2.9241
|  | 3958.5099 | 2.9488
|  | 3968.4829 | 2.9734
|  | 3978.7039 | 2.9895
|  | 3988.662 | 2.997
|  | 3998.6126 | 2.9922
|  | 4008.5559 | 2.9841
|  | 4018.4917 | 2.9675
|  | 4028.6745 | 2.9503
|  | 4038.5952 | 2.9376
|  | 4048.5084 | 2.9267
|  | 4058.4141 | 2.9212
|  | 4068.566 | 2.9147
|  | 4078.4565 | 2.9143
|  | 4088.5927 | 2.9094
|  | 4098.4678 | 2.9024
|  | 4108.5883 | 2.8937
|  | 4118.448 | 2.8895
|  | 4128.5526 | 2.8893
|  | 4138.3969 | 2.889
|  | 4148.4856 | 2.8896
|  | 4158.5662 | 2.8901
|  | 4168.387 | 2.8976
|  | 4178.4516 | 2.9052
|  | 4188.508 | 2.9083
|  | 4198.3052 | 2.9059
|  | 4208.3454 | 2.9036
|  | 4218.3775 | 2.9044
|  | 4228.4014 | 2.9138
|  | 4238.417 | 2.9066
|  | 4248.4243 | 2.9003
|  | 4258.4234 | 2.8757
|  | 4268.4142 | 2.859
|  | 4278.3966 | 2.8397
|  | 4288.3707 | 2.8291
|  | 4298.3365 | 2.8203
|  | 4308.2938 | 2.8115
|  | 4318.2428 | 2.8034
|  | 4328.4318 | 2.7902
|  | 4338.3636 | 2.7743
|  | 4348.2871 | 2.7555
|  | 4358.202 | 2.7403
|  | 4368.3561 | 2.7278
|  | 4378.2538 | 2.7131
|  | 4388.3901 | 2.6998
|  | 4398.2706 | 2.6839
|  | 4408.3891 | 2.6683
|  | 4418.2521 | 2.6517
|  | 4428.3528 | 2.6329
|  | 4438.1984 | 2.6133
|  | 4448.2812 | 2.5947
|  | 4458.3548 | 2.5771
|  | 4468.1739 | 2.5601
|  | 4478.2295 | 2.5383
|  | 4488.2759 | 2.516
|  | 4498.3131 | 2.4928
|  | 4508.0966 | 2.472
|  | 4518.1156 | 2.4534
|  | 4528.1254 | 2.4323
|  | 4538.1258 | 2.4097
|  | 4548.117 | 2.3853
|  | 4558.0988 | 2.3638
|  | 4568.0713 | 2.3443
|  | 4578.2774 | 2.3256
|  | 4588.2309 | 2.3054
|  | 4598.1751 | 2.2835
|  | 4608.1098 | 2.2632
|  | 4618.0351 | 2.2426
|  | 4628.1926 | 2.2239
|  | 4638.0988 | 2.2057
|  | 4647.9954 | 2.1878
|  | 4658.1235 | 2.1678
|  | 4668.0009 | 2.1479
|  | 4678.1092 | 2.129
|  | 4687.9671 | 2.1112
|  | 4698.0556 | 2.0937
|  | 4708.1339 | 2.0765
|  | 4717.9625 | 2.0591
|  | 4728.0208 | 2.0412
|  | 4738.069 | 2.024
|  | 4748.107 | 2.0079
|  | 4758.1347 | 1.9924
|  | 4767.9139 | 1.9782
|  | 4777.9214 | 1.963
|  | 4787.9187 | 1.9488
|  | 4797.9056 | 1.9348
|  | 4807.8823 | 1.9191
|  | 4818.0858 | 1.9069
|  | 4828.0415 | 1.8922
|  | 4837.9869 | 1.8802
|  | 4847.9218 | 1.8697
|  | 4857.8464 | 1.8568
|  | 4867.9964 | 1.8432
|  | 4877.8997 | 1.8295
|  | 4888.028 | 1.8181
|  | 4897.9102 | 1.8077
|  | 4908.0167 | 1.7959
|  | 4917.8775 | 1.7833
|  | 4927.9621 | 1.7707
|  | 4937.8015 | 1.7584
|  | 4947.8642 | 1.7465
|  | 4957.9157 | 1.7342
|  | 4967.9561 | 1.7221
|  | 4977.9852 | 1.712
|  | 4987.7703 | 1.7019
|  | 4997.7773 | 1.6912
|  | 5007.7767 | 1.6814
|  | 5017.5958 | 1.6703
|  | 5028.1691 | 1.6595
|  | 5037.9861 | 1.6489
|  | 5047.802 | 1.6392
|  | 5057.6169 | 1.6314
|  | 5068.1856 | 1.6221
|  | 5077.9983 | 1.6122
|  | 5087.81 | 1.6032
|  | 5097.6206 | 1.593
|  | 5107.4302 | 1.5846
|  | 5117.9932 | 1.575
|  | 5127.8006 | 1.5655
|  | 5137.6069 | 1.5578
|  | 5147.4122 | 1.548
|  | 5157.9706 | 1.5384
|  | 5167.7736 | 1.5305
|  | 5177.5757 | 1.522
|  | 5187.3766 | 1.514
|  | 5197.9303 | 1.5052
|  | 5207.729 | 1.4965
|  | 5217.5267 | 1.4885
|  | 5227.3232 | 1.4816
|  | 5237.8722 | 1.474
|  | 5247.6665 | 1.4654
|  | 5257.4598 | 1.4574
|  | 5268.0052 | 1.4488
|  | 5277.7962 | 1.4404
|  | 5287.5861 | 1.4322
|  | 5297.375 | 1.424
|  | 5307.9156 | 1.416
|  | 5317.7021 | 1.408
|  | 5327.4876 | 1.4002
|  | 5337.272 | 1.3924
|  | 5347.8078 | 1.3847
|  | 5357.5899 | 1.3771
|  | 5367.3709 | 1.3696
|  | 5377.903 | 1.3622
|  | 5387.6817 | 1.3548
|  | 5397.4593 | 1.3476
|  | 5407.2357 | 1.3404
|  | 5417.763 | 1.3333
|  | 5427.5371 | 1.3262
|  | 5437.3102 | 1.3193
|  | 5447.8337 | 1.3124
|  | 5457.6044 | 1.3056
|  | 5467.374 | 1.2988
|  | 5477.1425 | 1.2922
|  | 5487.6611 | 1.2856
|  | 5497.4272 | 1.279
|  | 5507.1922 | 1.2726
|  | 5517.7071 | 1.2662
|  | 5527.4697 | 1.2598
|  | 5537.2312 | 1.2536
|  | 5547.7423 | 1.2473
|  | 5557.5014 | 1.2412
|  | 5567.2594 | 1.2351
|  | 5577.7667 | 1.2291
|  | 5587.5223 | 1.2231
|  | 5597.2767 | 1.2172
|  | 5607.7802 | 1.2114
|  | 5617.5322 | 1.2056
|  | 5627.2831 | 1.1998
|  | 5637.0328 | 1.1941
|  | 5647.5312 | 1.1885
|  | 5657.2786 | 1.1829
|  | 5667.0247 | 1.1774
|  | 5677.5193 | 1.1719
|  | 5687.263 | 1.1665
|  | 5697.0055 | 1.1611
|  | 5707.4962 | 1.1558
|  | 5717.2363 | 1.1505
|  | 5726.9752 | 1.1453
|  | 5737.462 | 1.1401
|  | 5747.1985 | 1.135
|  | 5757.6826 | 1.1299
|  | 5767.4166 | 1.1249
|  | 5777.1495 | 1.1199
|  | 5787.6296 | 1.1149
|  | 5797.36 | 1.11
|  | 5807.0892 | 1.1052
|  | 5817.5654 | 1.1004
|  | 5827.2921 | 1.0956
|  | 5837.0176 | 1.0909
|  | 5847.4898 | 1.0862
|  | 5857.2128 | 1.0816
|  | 5866.9346 | 1.077
|  | 5877.4028 | 1.0724
|  | 5887.1221 | 1.0679
|  | 5897.5877 | 1.0634
|  | 5907.3044 | 1.059
|  | 5917.0199 | 1.0545
|  | 5927.4815 | 1.0502
|  | 5937.1945 | 1.0458
|  | 5946.9062 | 1.0415
|  | 5957.3637 | 1.0373
|  | 5967.0729 | 1.033
|  | 5977.5276 | 1.0288
|  | 5987.2343 | 1.0246
|  | 5996.9398 | 1.0205
|  | 6007.3904 | 1.0164
|  | 6017.0933 | 1.0123
|  | 6026.7949 | 1.0083
|  | 6037.2414 | 1.0043
|  | 6046.9405 | 1.0003
|  | 6057.3842 | 0.99635
|  | 6067.0807 | 0.99243
|  | 6076.7759 | 0.98855
|  | 6087.2155 | 0.98471
|  | 6096.9081 | 0.98089
|  | 6107.3449 | 0.97711
|  | 6117.0349 | 0.97336
|  | 6126.7237 | 0.96964
|  | 6137.1563 | 0.96594
|  | 6146.8424 | 0.96228
|  | 6157.2722 | 0.95865
|  | 6166.9557 | 0.95504
|  | 6177.3827 | 0.95147
|  | 6187.0635 | 0.94792
|  | 6196.7431 | 0.9444
|  | 6207.1659 | 0.9409
|  | 6216.8428 | 0.93743
|  | 6227.2627 | 0.93398
|  | 6236.9369 | 0.93056
|  | 6246.6099 | 0.92716
|  | 6257.0255 | 0.92379
|  | 6266.6958 | 0.92044
|  | 6277.1086 | 0.91712
|  | 6286.7762 | 0.91381
|  | 6297.1861 | 0.91053
|  | 6306.851 | 0.90728
|  | 6317.2579 | 0.90405
|  | 6326.9202 | 0.90084
|  | 6336.5811 | 0.89765
|  | 6346.9837 | 0.89449
|  | 6356.6419 | 0.89135
|  | 6367.0416 | 0.88823
|  | 6376.6971 | 0.88514
|  | 6387.0939 | 0.88206
|  | 6396.7467 | 0.879
|  | 6407.1405 | 0.87597
|  | 6416.7905 | 0.87296
|  | 6427.1814 | 0.86997
|  | 6436.8287 | 0.867
|  | 6446.4746 | 0.86405
|  | 6456.8611 | 0.86112
|  | 6466.5043 | 0.85821
|  | 6476.8878 | 0.85532
|  | 6486.5282 | 0.85245
|  | 6496.9087 | 0.8496
|  | 6506.5464 | 0.84677
|  | 6516.9239 | 0.84396
|  | 6526.5588 | 0.84117
|  | 6536.9333 | 0.8384
|  | 6546.5654 | 0.83565
|  | 6556.9369 | 0.83293
|  | 6566.5662 | 0.83022
|  | 6576.9346 | 0.82753
|  | 6586.5611 | 0.82487
|  | 6596.9265 | 0.82222
|  | 6606.5502 | 0.81958
|  | 6616.9126 | 0.81696
|  | 6626.5334 | 0.81436
|  | 6636.8928 | 0.81177
|  | 6646.5108 | 0.80919
|  | 6656.8671 | 0.80663
|  | 6666.4822 | 0.80408
|  | 6676.8354 | 0.80154
|  | 6686.4477 | 0.79902
|  | 6696.7979 | 0.79651
|  | 6706.4073 | 0.79402
|  | 6716.7543 | 0.79155
|  | 6726.3609 | 0.78909
|  | 6736.7049 | 0.78665
|  | 6746.3085 | 0.78422
|  | 6756.6494 | 0.78181
|  | 6766.2502 | 0.77941
|  | 6776.5879 | 0.77703
|  | 6786.9241 | 0.77467
|  | 6796.5205 | 0.77232
|  | 6806.8535 | 0.76998
|  | 6816.4469 | 0.76766
|  | 6826.7768 | 0.76535
|  | 6836.3674 | 0.76305
|  | 6846.6941 | 0.76077
|  | 6856.2817 | 0.75849
|  | 6866.6053 | 0.75623
|  | 6876.19 | 0.75399
|  | 6886.5104 | 0.75175
|  | 6896.8291 | 0.74953
|  | 6906.4093 | 0.74732
|  | 6916.7249 | 0.74513
|  | 6926.3022 | 0.74294
|  | 6936.6146 | 0.74077
|  | 6946.1889 | 0.73861
|  | 6956.4981 | 0.73646
|  | 6966.8056 | 0.73432
|  | 6976.3754 | 0.73219
|  | 6986.6797 | 0.73008
|  | 6996.2465 | 0.72798
|  | 7006.5476 | 0.72589
|  | 7016.1114 | 0.72381
|  | 7026.4093 | 0.72174
|  | 7036.7055 | 0.71968
|  | 7046.2647 | 0.71764
|  | 7056.5577 | 0.71561
|  | 7066.1139 | 0.71359
|  | 7076.4036 | 0.71158
|  | 7086.6916 | 0.70959
|  | 7096.2432 | 0.7076
|  | 7106.528 | 0.70563
|  | 7116.0766 | 0.70367
|  | 7126.358 | 0.70172
|  | 7136.6378 | 0.69978
|  | 7146.1817 | 0.69786
|  | 7156.4582 | 0.69594
|  | 7165.9991 | 0.69403
|  | 7176.2723 | 0.69214
|  | 7186.5438 | 0.69025
|  | 7196.08 | 0.68838
|  | 7206.3482 | 0.68652
|  | 7216.6146 | 0.68467
|  | 7226.1461 | 0.68283
|  | 7236.4093 | 0.681
|  | 7245.9377 | 0.67918
|  | 7256.1975 | 0.67738
|  | 7266.4555 | 0.67558
|  | 7275.9793 | 0.6738
|  | 7286.234 | 0.67203
|  | 7296.4869 | 0.67027
|  | 7306.0059 | 0.66851
|  | 7316.2555 | 0.66677
|  | 7326.5034 | 0.66503
|  | 7336.0176 | 0.66331
|  | 7346.2621 | 0.66159
|  | 7356.5048 | 0.65988
|  | 7366.0143 | 0.65818
|  | 7376.2536 | 0.65648
|  | 7386.4912 | 0.6548
|  | 7395.9959 | 0.65313
|  | 7406.23 | 0.65146
|  | 7416.4624 | 0.6498
|  | 7425.9623 | 0.64815
|  | 7436.1913 | 0.6465
|  | 7446.4185 | 0.64487
|  | 7455.9135 | 0.64325
|  | 7466.1373 | 0.64163
|  | 7476.3593 | 0.64003
|  | 7485.8495 | 0.63843
|  | 7496.068 | 0.63683
|  | 7506.2847 | 0.63525
|  | 7515.7701 | 0.63367
|  | 7525.9834 | 0.63211
|  | 7536.1948 | 0.63055
|  | 7545.6753 | 0.629
|  | 7555.8833 | 0.62745
|  | 7566.0895 | 0.62592
|  | 7576.2939 | 0.62439
|  | 7585.7678 | 0.62287
|  | 7595.9687 | 0.62136
|  | 7606.1678 | 0.61986
|  | 7615.6367 | 0.61837
|  | 7625.8323 | 0.61689
|  | 7636.0261 | 0.61541
|  | 7646.218 | 0.61394
|  | 7655.6803 | 0.61248
|  | 7665.8687 | 0.61102
|  | 7676.0553 | 0.60957
|  | 7686.2401 | 0.60813
|  | 7695.6957 | 0.60669
|  | 7705.8769 | 0.60526
|  | 7716.0562 | 0.60384
|  | 7726.2338 | 0.60242
|  | 7735.6827 | 0.60102
|  | 7745.8566 | 0.59962
|  | 7756.0287 | 0.59822
|  | 7766.199 | 0.59684
|  | 7775.6412 | 0.59546
|  | 7785.8078 | 0.59408
|  | 7795.9727 | 0.59271
|  | 7806.1356 | 0.59135
|  | 7815.571 | 0.58999
|  | 7825.7303 | 0.58865
|  | 7835.8878 | 0.5873
|  | 7846.0435 | 0.58597
|  | 7855.472 | 0.58464
|  | 7865.624 | 0.58332
|  | 7875.7741 | 0.582
|  | 7885.9224 | 0.58069
|  | 7896.0687 | 0.57939
|  | 7905.4887 | 0.5781
|  | 7915.6314 | 0.5768
|  | 7925.7722 | 0.57552
|  | 7935.9112 | 0.57424
|  | 7946.0482 | 0.57296
|  | 7955.4595 | 0.57169
|  | 7965.5929 | 0.57043
|  | 7975.7243 | 0.56917
|  | 7985.8539 | 0.56792
|  | 7995.9816 | 0.56667
|  | 8005.3841 | 0.56543
|  | 8015.5081 | 0.5642
|  | 8025.6302 | 0.56297
|  | 8035.7503 | 0.56174
|  | 8045.8686 | 0.56052
|  | 8055.9849 | 0.55931
|  | 8065.3769 | 0.5581
|  | 8075.4895 | 0.55689
|  | 8085.6002 | 0.5557
|  | 8095.7089 | 0.5545
|  | 8105.8157 | 0.55331
|  | 8115.9206 | 0.55213
|  | 8125.3019 | 0.55095
|  | 8135.4031 | 0.54978
|  | 8145.5023 | 0.54861
|  | 8155.5995 | 0.54745
|  | 8165.6948 | 0.54629
|  | 8175.7881 | 0.54513
|  | 8185.8795 | 0.54398
|  | 8195.2484 | 0.54284
|  | 8205.336 | 0.5417
|  | 8215.4216 | 0.54056
|  | 8225.5053 | 0.53943
|  | 8235.5871 | 0.53831
|  | 8245.6668 | 0.53719
|  | 8255.7446 | 0.53607
|  | 8265.8204 | 0.53496
|  | 8275.1748 | 0.53386
|  | 8285.2468 | 0.53276
|  | 8295.3169 | 0.53166
|  | 8305.3849 | 0.53057
|  | 8315.451 | 0.52949
|  | 8325.5151 | 0.5284
|  | 8335.5772 | 0.52733
|  | 8345.6373 | 0.52626
|  | 8355.6954 | 0.52519
|  | 8365.7515 | 0.52413
|  | 8375.0876 | 0.52307
|  | 8385.1398 | 0.52201
|  | 8395.1901 | 0.52097
|  | 8405.2383 | 0.51992
|  | 8415.2846 | 0.51889
|  | 8425.3288 | 0.51785
|  | 8435.3711 | 0.51682
|  | 8445.4113 | 0.51579
|  | 8455.4495 | 0.51477
|  | 8465.4856 | 0.51375
|  | 8475.5198 | 0.51274
|  | 8485.5519 | 0.51173
|  | 8495.582 | 0.51072
|  | 8505.6101 | 0.50972
|  | 8515.6362 | 0.50871
|  | 8525.6602 | 0.50772
|  | 8535.6821 | 0.50672
|  | 8544.9864 | 0.50573
|  | 8555.0045 | 0.50474
|  | 8565.0205 | 0.50376
|  | 8575.0344 | 0.50278
|  | 8585.0463 | 0.50181
|  | 8595.0562 | 0.50084
|  | 8605.064 | 0.49988
|  | 8615.0697 | 0.49892
|  | 8625.0734 | 0.49796
|  | 8635.075 | 0.49701
|  | 8645.0746 | 0.49606
|  | 8655.0721 | 0.49512
|  | 8665.0675 | 0.49418
|  | 8675.0609 | 0.49324
|  | 8685.0522 | 0.49231
|  | 8695.0414 | 0.49138
|  | 8705.0286 | 0.49045
|  | 8715.0136 | 0.48953
|  | 8724.9966 | 0.48861
|  | 8734.9775 | 0.48769
|  | 8744.9563 | 0.48678
|  | 8754.9331 | 0.48588
|  | 8764.9077 | 0.48498
|  | 8774.8802 | 0.48408
|  | 8784.8507 | 0.48319
|  | 8794.819 | 0.4823
|  | 8804.7853 | 0.48141
|  | 8815.4611 | 0.48053
|  | 8825.4229 | 0.47966
|  | 8835.3827 | 0.47879
|  | 8845.3404 | 0.47792
|  | 8855.296 | 0.47706
|  | 8865.2494 | 0.4762
|  | 8875.2007 | 0.47535
|  | 8885.1499 | 0.4745
|  | 8895.097 | 0.47365
|  | 8905.042 | 0.4728
|  | 8914.9848 | 0.47196
|  | 8924.9255 | 0.47112
|  | 8934.8641 | 0.47028
|  | 8944.8005 | 0.46945
|  | 8954.7348 | 0.46862
|  | 8965.3764 | 0.46779
|  | 8975.3062 | 0.46697
|  | 8985.234 | 0.46614
|  | 8995.1595 | 0.46532
|  | 9005.083 | 0.46451
|  | 9015.0042 | 0.46369
|  | 9024.9234 | 0.46288
|  | 9034.8404 | 0.46207
|  | 9044.7552 | 0.46126
|  | 9054.6678 | 0.46046
|  | 9065.2861 | 0.45966
|  | 9075.1943 | 0.45886
|  | 9085.1003 | 0.45807
|  | 9095.0041 | 0.45728
|  | 9104.9058 | 0.45649
|  | 9114.8053 | 0.4557
|  | 9124.7026 | 0.45492
|  | 9134.5978 | 0.45414
|  | 9145.1973 | 0.45337
|  | 9155.0879 | 0.4526
|  | 9164.9763 | 0.45183
|  | 9174.8625 | 0.45106
|  | 9184.7466 | 0.4503
|  | 9194.6284 | 0.44954
|  | 9204.5081 | 0.44878
|  | 9215.091 | 0.44803
|  | 9224.9661 | 0.44728
|  | 9234.839 | 0.44653
|  | 9244.7097 | 0.44578
|  | 9254.5782 | 0.44503
|  | 9265.1491 | 0.44428
|  | 9275.013 | 0.44353
|  | 9284.8747 | 0.44279
|  | 9294.7342 | 0.44205
|  | 9304.5914 | 0.44132
|  | 9314.4465 | 0.44058
|  | 9325.0029 | 0.43985
|  | 9334.8534 | 0.43912
|  | 9344.7016 | 0.43839
|  | 9354.5475 | 0.43767
|  | 9364.3912 | 0.43695
|  | 9374.9356 | 0.43623
|  | 9384.7747 | 0.43552
|  | 9394.6115 | 0.43481
|  | 9404.4461 | 0.4341
|  | 9414.9807 | 0.43339
|  | 9424.8107 | 0.43268
|  | 9434.6384 | 0.43198
|  | 9444.4638 | 0.43127
|  | 9454.9886 | 0.43057
|  | 9464.8094 | 0.42987
|  | 9474.6279 | 0.42917
|  | 9484.4441 | 0.42848
|  | 9494.959 | 0.42779
|  | 9504.7706 | 0.4271
|  | 9514.5798 | 0.42641
|  | 9524.3869 | 0.42573
|  | 9534.8918 | 0.42504
|  | 9544.6941 | 0.42437
|  | 9554.4942 | 0.42369
|  | 9564.2919 | 0.42302
|  | 9574.7869 | 0.42235
|  | 9584.5799 | 0.42169
|  | 9594.3706 | 0.42102
|  | 9604.8581 | 0.42036
|  | 9614.6441 | 0.41969
|  | 9624.4278 | 0.41903
|  | 9634.2091 | 0.41837
|  | 9644.6866 | 0.41771
|  | 9654.4632 | 0.41705
|  | 9664.2375 | 0.41639
|  | 9674.7074 | 0.41574
|  | 9684.4769 | 0.41508
|  | 9694.2441 | 0.41443
|  | 9704.7064 | 0.41379
|  | 9714.4688 | 0.41314
|  | 9724.2289 | 0.4125
|  | 9734.6835 | 0.41186
|  | 9744.4388 | 0.41122
|  | 9754.1918 | 0.41058
|  | 9764.6387 | 0.40995
|  | 9774.3869 | 0.40932
|  | 9784.1326 | 0.40869
|  | 9794.5719 | 0.40806
|  | 9804.3129 | 0.40744
|  | 9814.747 | 0.40681
|  | 9824.4831 | 0.40619
|  | 9834.2168 | 0.40557
|  | 9844.6432 | 0.40496
|  | 9854.3721 | 0.40434
|  | 9864.0986 | 0.40372
|  | 9874.5172 | 0.40311
|  | 9884.2389 | 0.4025
|  | 9894.6523 | 0.40189
|  | 9904.369 | 0.40129
|  | 9914.0834 | 0.40069
|  | 9924.489 | 0.40009
|  | 9934.1985 | 0.39949
|  | 9944.5989 | 0.39889
|  | 9954.3034 | 0.3983
|  | 9964.0056 | 0.39771
|  | 9974.3981 | 0.39712
|  | 9984.0954 | 0.39653
|  | 9994.4826 | 0.39594
|  | 10004.1749 | 0.39536
|  | 10014.5569 | 0.39478
|  | 10024.2442 | 0.3942
|  | 10033.9292 | 0.39362
|  | 10044.3033 | 0.39304
|  | 10053.9832 | 0.39247
|  | 10064.352 | 0.3919
|  | 10074.027 | 0.39133
|  | 10084.3904 | 0.39076
|  | 10094.0605 | 0.3902
|  | 10104.4185 | 0.38963
|  | 10114.0835 | 0.38906
|  | 10124.4363 | 0.3885
|  | 10134.0963 | 0.38794
|  | 10144.4436 | 0.38738
|  | 10154.0986 | 0.38682
|  | 10164.4406 | 0.38626
|  | 10174.0906 | 0.38571
|  | 10184.4271 | 0.38516
|  | 10194.0721 | 0.3846
|  | 10204.4032 | 0.38405
|  | 10214.0431 | 0.3835
|  | 10224.3689 | 0.38295
|  | 10234.0037 | 0.3824
|  | 10244.3241 | 0.38185
|  | 10253.9539 | 0.38131
|  | 10264.2688 | 0.38076
|  | 10273.8935 | 0.38022
|  | 10284.2029 | 0.37968
|  | 10293.8226 | 0.37914
|  | 10304.1266 | 0.3786
|  | 10313.7411 | 0.37807
|  | 10324.0396 | 0.37754
|  | 10334.3353 | 0.37701
|  | 10343.9421 | 0.37648
|  | 10354.2323 | 0.37596
|  | 10363.834 | 0.37544
|  | 10374.1187 | 0.37492
|  | 10383.7153 | 0.3744
|  | 10393.9945 | 0.37388
|  | 10404.2709 | 0.37337
|  | 10413.8596 | 0.37285
|  | 10424.1305 | 0.37234
|  | 10433.7141 | 0.37183
|  | 10443.9794 | 0.37132
|  | 10454.2419 | 0.37082
|  | 10463.8176 | 0.37031
|  | 10474.0746 | 0.36981
|  | 10483.6451 | 0.3693
|  | 10493.8965 | 0.3688
|  | 10504.145 | 0.3683
|  | 10513.7077 | 0.3678
|  | 10523.9506 | 0.3673
|  | 10534.1907 | 0.36681
|  | 10543.7455 | 0.36631
|  | 10553.9799 | 0.36583
|  | 10564.2115 | 0.36534
|  | 10573.7584 | 0.36485
|  | 10583.9843 | 0.36437
|  | 10593.5259 | 0.36388
|  | 10603.7463 | 0.3634
|  | 10613.9638 | 0.36292
|  | 10624.1783 | 0.36244
|  | 10633.7092 | 0.36196
|  | 10643.9181 | 0.36148
|  | 10654.1241 | 0.36101
|  | 10663.6471 | 0.36054
|  | 10673.8474 | 0.36007
|  | 10684.0449 | 0.3596
|  | 10693.5598 | 0.35914
|  | 10703.7515 | 0.35867
|  | 10713.9404 | 0.3582
|  | 10723.4473 | 0.35774
|  | 10733.6304 | 0.35727
|  | 10743.8106 | 0.35681
|  | 10753.9878 | 0.35635
|  | 10763.4839 | 0.35589
|  | 10773.6555 | 0.35543
|  | 10783.8241 | 0.35498
|  | 10793.9897 | 0.35453
|  | 10803.4749 | 0.35408
|  | 10813.6349 | 0.35363
|  | 10823.7918 | 0.35319
|  | 10833.9458 | 0.35275
|  | 10843.4201 | 0.35231
|  | 10853.5684 | 0.35187
|  | 10863.7136 | 0.35144
|  | 10873.8559 | 0.35101
|  | 10883.3193 | 0.35058
|  | 10893.4559 | 0.35015
|  | 10903.5894 | 0.34972
|  | 10913.7199 | 0.34929
|  | 10923.8475 | 0.34886
|  | 10933.2971 | 0.34844
|  | 10943.4189 | 0.34801
|  | 10953.5376 | 0.34758
|  | 10963.6534 | 0.34715
|  | 10973.7661 | 0.34673
|  | 10983.8759 | 0.3463
|  | 10993.3089 | 0.34587
|  | 11003.4128 | 0.34545
|  | 11013.5137 | 0.34502
|  | 11023.6116 | 0.3446
|  | 11033.7064 | 0.34418
|  | 11043.7982 | 0.34377
|  | 11053.2146 | 0.34335
|  | 11063.3005 | 0.34294
|  | 11073.3835 | 0.34252
|  | 11083.4634 | 0.34211
|  | 11093.5402 | 0.3417
|  | 11103.6141 | 0.34129
|  | 11113.6848 | 0.34089
|  | 11123.7526 | 0.34048
|  | 11133.1464 | 0.34008
|  | 11143.2082 | 0.33968
|  | 11153.267 | 0.33928
|  | 11163.3227 | 0.33888
|  | 11173.3753 | 0.33848
|  | 11183.4249 | 0.33809
|  | 11193.4715 | 0.3377
|  | 11203.5149 | 0.33731
|  | 11213.5553 | 0.33692
|  | 11223.5926 | 0.33653
|  | 11233.6269 | 0.33615
|  | 11243.658 | 0.33576
|  | 11253.6861 | 0.33537
|  | 11263.7111 | 0.33499
|  | 11273.065 | 0.3346
|  | 11283.084 | 0.33422
|  | 11293.0999 | 0.33383
|  | 11303.1127 | 0.33345
|  | 11313.1225 | 0.33307
|  | 11323.1291 | 0.33269
|  | 11333.1326 | 0.33231
|  | 11343.133 | 0.33192
|  | 11353.1303 | 0.33154
|  | 11363.1245 | 0.33116
|  | 11373.1156 | 0.33079
|  | 11383.1036 | 0.33041
|  | 11393.0884 | 0.33003
|  | 11403.0701 | 0.32966
|  | 11413.0487 | 0.32928
|  | 11423.0242 | 0.3289
|  | 11432.9965 | 0.32852
|  | 11442.9657 | 0.32814
|  | 11452.9318 | 0.32776
|  | 11463.5588 | 0.32738
|  | 11473.5183 | 0.327
|  | 11483.4748 | 0.32662
|  | 11493.428 | 0.32624
|  | 11503.3782 | 0.32586
|  | 11513.3251 | 0.32549
|  | 11523.2689 | 0.32512
|  | 11533.2096 | 0.32475
|  | 11543.1471 | 0.32438
|  | 11553.0814 | 0.32401
|  | 11563.0126 | 0.32364
|  | 11572.9405 | 0.32327
|  | 11582.8654 | 0.32291
|  | 11593.4483 | 0.32254
|  | 11603.3666 | 0.32218
|  | 11613.2817 | 0.32181
|  | 11623.1935 | 0.32145
|  | 11633.1022 | 0.32109
|  | 11643.0077 | 0.32073
|  | 11652.9101 | 0.32037
|  | 11662.8092 | 0.32001
|  | 11673.3647 | 0.31965
|  | 11683.2572 | 0.31929
|  | 11693.1465 | 0.31894
|  | 11703.0326 | 0.31859
|  | 11712.9155 | 0.31825
|  | 11722.7952 | 0.3179
|  | 11733.33 | 0.31756
|  | 11743.203 | 0.31722
|  | 11753.0729 | 0.31689
|  | 11762.9395 | 0.31655
|  | 11772.8028 | 0.31621
|  | 11783.3202 | 0.31587
|  | 11793.1769 | 0.31554
|  | 11803.0304 | 0.3152
|  | 11812.8806 | 0.31487
|  | 11822.7276 | 0.31454
|  | 11833.2275 | 0.3142
|  | 11843.0678 | 0.31387
|  | 11852.9048 | 0.31353
|  | 11862.7386 | 0.31318
|  | 11873.2244 | 0.31284
|  | 11883.0515 | 0.3125
|  | 11892.8753 | 0.31216
|  | 11902.6958 | 0.31182
|  | 11913.1675 | 0.31148
|  | 11922.9813 | 0.31114
|  | 11932.7918 | 0.31081
|  | 11942.5991 | 0.31048
|  | 11953.0565 | 0.31014
|  | 11962.857 | 0.30981
|  | 11972.6542 | 0.30947
|  | 11983.101 | 0.30914
|  | 11992.8914 | 0.30881
|  | 12002.6786 | 0.30848
|  | 12013.1146 | 0.30815
|  | 12022.8949 | 0.30782
|  | 12032.6719 | 0.30749
|  | 12043.0971 | 0.30715
|  | 12052.8674 | 0.30682
|  | 12062.6343 | 0.30649
|  | 12073.0487 | 0.30616
|  | 12082.8087 | 0.30583
|  | 12092.5655 | 0.30551
|  | 12102.9691 | 0.30519
|  | 12112.719 | 0.30488
|  | 12122.4656 | 0.30456
|  | 12132.8583 | 0.30425
|  | 12142.598 | 0.30394
|  | 12152.9833 | 0.30364
|  | 12162.7162 | 0.30333
|  | 12172.4457 | 0.30303
|  | 12182.8201 | 0.30273
|  | 12192.5427 | 0.30242
|  | 12202.9098 | 0.30211
|  | 12212.6255 | 0.3018
|  | 12222.9852 | 0.30149
|  | 12232.694 | 0.30118
|  | 12242.3994 | 0.30087
|  | 12252.7481 | 0.30057
|  | 12262.4466 | 0.30026
|  | 12272.788 | 0.29996
|  | 12282.4795 | 0.29965
|  | 12292.8134 | 0.29934
|  | 12302.498 | 0.29904
|  | 12312.8244 | 0.29874
|  | 12322.502 | 0.29845
|  | 12332.8211 | 0.29816
|  | 12342.4917 | 0.29787
|  | 12352.8033 | 0.29759
|  | 12362.4669 | 0.2973
|  | 12372.771 | 0.29702
|  | 12382.4276 | 0.29673
|  | 12392.7242 | 0.29645
|  | 12402.3738 | 0.29616
|  | 12412.6629 | 0.29588
|  | 12422.3055 | 0.29559
|  | 12432.5871 | 0.29531
|  | 12442.2226 | 0.29503
|  | 12452.4967 | 0.29476
|  | 12462.767 | 0.29448
|  | 12472.3918 | 0.29421
|  | 12482.6545 | 0.29393
|  | 12492.2722 | 0.29365
|  | 12502.5274 | 0.29338
|  | 12512.7786 | 0.2931
|  | 12522.3856 | 0.29282
|  | 12532.6293 | 0.29254
|  | 12542.2292 | 0.29226
|  | 12552.4653 | 0.29199
|  | 12562.6975 | 0.29172
|  | 12572.2867 | 0.29145
|  | 12582.5112 | 0.29118
|  | 12592.7319 | 0.29091
|  | 12602.3102 | 0.29065
|  | 12612.5233 | 0.2904
|  | 12622.0945 | 0.29014
|  | 12632.2999 | 0.28989
|  | 12642.5014 | 0.28963
|  | 12652.6989 | 0.28938
|  | 12662.2556 | 0.28913
|  | 12672.4455 | 0.28888
|  | 12682.6314 | 0.28864
|  | 12692.1771 | 0.28839
|  | 12702.3554 | 0.28814
|  | 12712.5297 | 0.28789
|  | 12722.0646 | 0.28765
|  | 12732.2312 | 0.2874
|  | 12742.3939 | 0.28715
|  | 12752.5526 | 0.2869
|  | 12762.0727 | 0.28664
|  | 12772.2237 | 0.28637
|  | 12782.3707 | 0.28611
|  | 12792.5137 | 0.28586
|  | 12802.0191 | 0.28562
|  | 12812.1544 | 0.28537
|  | 12822.2857 | 0.28513
|  | 12832.4129 | 0.28489
|  | 12842.5362 | 0.28465
|  | 12852.0232 | 0.28442
|  | 12862.1387 | 0.28418
|  | 12872.2502 | 0.28395
|  | 12882.3576 | 0.28372
|  | 12892.4611 | 0.28349
|  | 12901.9294 | 0.28327
|  | 12912.0251 | 0.28305
|  | 12922.1167 | 0.28283
|  | 12932.2044 | 0.28261
|  | 12942.2879 | 0.2824
|  | 12952.3675 | 0.28218
|  | 12962.443 | 0.28197
|  | 12971.8851 | 0.28175
|  | 12981.9527 | 0.28154
|  | 12992.0163 | 0.28133
|  | 13002.0759 | 0.28112
|  | 13012.1314 | 0.28091
|  | 13022.1829 | 0.2807
|  | 13032.2302 | 0.28049
|  | 13042.2736 | 0.28029
|  | 13052.3128 | 0.28008
|  | 13062.348 | 0.27987
|  | 13072.3791 | 0.27967
|  | 13081.7795 | 0.27947
|  | 13091.8028 | 0.27927
|  | 13101.8219 | 0.27907
|  | 13111.8369 | 0.27888
|  | 13121.8478 | 0.27869
|  | 13131.8547 | 0.2785
|  | 13141.8574 | 0.2783
|  | 13151.8561 | 0.27811
|  | 13161.8506 | 0.27791
|  | 13171.8411 | 0.27771
|  | 13181.8274 | 0.27752
|  | 13191.8096 | 0.27732
|  | 13201.7877 | 0.27712
|  | 13211.7617 | 0.27692
|  | 13221.7316 | 0.27673
|  | 13231.6973 | 0.27653
|  | 13241.6589 | 0.27633
|  | 13252.2386 | 0.27613
|  | 13262.1917 | 0.27594
|  | 13272.1407 | 0.27574
|  | 13282.0855 | 0.27554
|  | 13292.0262 | 0.27534
|  | 13301.9627 | 0.27514
|  | 13311.8951 | 0.27494
|  | 13321.8233 | 0.27475
|  | 13331.7474 | 0.27456
|  | 13341.6673 | 0.27438
|  | 13351.5831 | 0.2742
|  | 13362.114 | 0.27403
|  | 13372.0211 | 0.27386
|  | 13381.9241 | 0.27369
|  | 13391.8229 | 0.27352
|  | 13401.7176 | 0.27334
|  | 13411.608 | 0.27317
|  | 13422.1121 | 0.273
|  | 13431.9939 | 0.27284
|  | 13441.8715 | 0.27268
|  | 13451.745 | 0.27253
|  | 13461.6142 | 0.27238
|  | 13472.0957 | 0.27224
|  | 13481.9562 | 0.27209
|  | 13491.8126 | 0.27194
|  | 13501.6648 | 0.27179
|  | 13511.5127 | 0.27164
|  | 13521.9716 | 0.27149
|  | 13531.8108 | 0.27134
|  | 13541.6459 | 0.27119
|  | 13551.4767 | 0.27104
|  | 13561.9173 | 0.27087
|  | 13571.7394 | 0.2707
|  | 13581.5572 | 0.27054
|  | 13591.9841 | 0.27037
|  | 13601.7932 | 0.27021
|  | 13611.5981 | 0.27005
|  | 13621.3987 | 0.26989
|  | 13631.8072 | 0.26973
|  | 13641.5991 | 0.26957
|  | 13651.3867 | 0.26941
|  | 13661.7814 | 0.26927
|  | 13671.5602 | 0.26913
|  | 13681.9455 | 0.26901
|  | 13691.7155 | 0.26889
|  | 13701.4813 | 0.26877
|  | 13711.8527 | 0.26864
|  | 13721.6096 | 0.26851
|  | 13731.3623 | 0.26836
|  | 13741.7198 | 0.26821
|  | 13751.4636 | 0.26807
|  | 13761.8117 | 0.26793
|  | 13771.5467 | 0.2678
|  | 13781.8854 | 0.26766
|  | 13791.6115 | 0.26751
|  | 13801.3333 | 0.26735
|  | 13811.658 | 0.26718
|  | 13821.3709 | 0.26702
|  | 13831.6861 | 0.26687
|  | 13841.3902 | 0.26671
|  | 13851.696 | 0.26654
|  | 13861.3911 | 0.26636
|  | 13871.6874 | 0.26617
|  | 13881.3736 | 0.26598
|  | 13891.6604 | 0.26579
|  | 13901.3377 | 0.26561
|  | 13911.615 | 0.26541
|  | 13921.2833 | 0.26521
|  | 13931.5512 | 0.26502
|  | 13941.2105 | 0.26483
|  | 13951.4688 | 0.26464
|  | 13961.7222 | 0.26443
|  | 13971.3679 | 0.26423
|  | 13981.6118 | 0.26403
|  | 13991.2486 | 0.26383
|  | 14001.4828 | 0.26365
|  | 14011.7122 | 0.26347
|  | 14021.3353 | 0.26327
|  | 14031.5551 | 0.26304
|  | 14041.1691 | 0.2628
|  | 14051.3793 | 0.2626
|  | 14061.5845 | 0.26244
|  | 14071.1849 | 0.26228
|  | 14081.3805 | 0.26206
|  | 14091.5712 | 0.26182
|  | 14101.1578 | 0.26161
|  | 14111.3389 | 0.26145
|  | 14121.5149 | 0.26129
|  | 14131.0878 | 0.26114
|  | 14141.2542 | 0.261
|  | 14151.4156 | 0.26087
|  | 14161.572 | 0.26067
|  | 14171.1265 | 0.26042
|  | 14181.2732 | 0.26025
|  | 14191.415 | 0.26016
|  | 14201.5517 | 0.25997
|  | 14211.0876 | 0.25988
|  | 14221.2147 | 0.25975
|  | 14231.3367 | 0.25957
|  | 14241.4537 | 0.25959
|  | 14250.971 | 0.25957
|  | 14261.0783 | 0.25949
|  | 14271.1806 | 0.25929
|  | 14281.2778 | 0.25908
|  | 14291.37 | 0.25889
|  | 14301.4572 | 0.25866
|  | 14310.9464 | 0.25853
|  | 14321.0238 | 0.25845
|  | 14331.0961 | 0.25837
|  | 14341.1634 | 0.25829
|  | 14351.2257 | 0.25821
|  | 14361.2829 | 0.25812
|  | 14371.335 | 0.258
|  | 14381.3821 | 0.2579
|  | 14391.4242 | 0.2578
|  | 14400.8708 | 0.25773
|  | 14410.903 | 0.25768
|  | 14420.9301 | 0.25763
|  | 14430.9521 | 0.25757
|  | 14440.9691 | 0.25753
|  | 14450.9809 | 0.25752
|  | 14460.9877 | 0.25753
|  | 14470.9894 | 0.25751
|  | 14480.986 | 0.25748
|  | 14490.9775 | 0.25745
|  | 14500.9638 | 0.25743
|  | 14510.9451 | 0.25742
|  | 14520.9213 | 0.25743
|  | 14530.8923 | 0.25744
|  | 14540.8582 | 0.25744
|  | 14550.8191 | 0.25744
|  | 14560.7748 | 0.25746
|  | 14571.3105 | 0.25748
|  | 14581.2556 | 0.25751
|  | 14591.1956 | 0.2575
|  | 14601.1305 | 0.25746
|  | 14611.0602 | 0.25739
|  | 14620.9847 | 0.25733
|  | 14630.9042 | 0.25729
|  | 14640.8184 | 0.25728
|  | 14650.7275 | 0.2573
|  | 14661.2139 | 0.25731
|  | 14671.1124 | 0.25732
|  | 14681.0057 | 0.25729
|  | 14690.8939 | 0.25726
|  | 14700.7769 | 0.25723
|  | 14710.6547 | 0.25723
|  | 14721.1079 | 0.25726
|  | 14730.975 | 0.25728
|  | 14740.837 | 0.25729
|  | 14750.6937 | 0.25729
|  | 14761.1246 | 0.2573
|  | 14770.9707 | 0.25732
|  | 14780.8115 | 0.25738
|  | 14790.6472 | 0.25746
|  | 14801.0557 | 0.25755
|  | 14810.8806 | 0.25764
|  | 14820.7003 | 0.2577
|  | 14831.092 | 0.25775
|  | 14840.9009 | 0.25779
|  | 14850.7047 | 0.25783
|  | 14861.0794 | 0.25788
|  | 14870.8724 | 0.25796
|  | 14880.6601 | 0.25804
|  | 14891.0179 | 0.25811
|  | 14900.7948 | 0.25817
|  | 14910.5665 | 0.25821
|  | 14920.9073 | 0.25825
|  | 14930.6681 | 0.25828
|  | 14940.9974 | 0.25829
|  | 14950.7475 | 0.2583
|  | 14960.4923 | 0.25831
|  | 14970.8045 | 0.25831
|  | 14980.5385 | 0.2583
|  | 14990.8392 | 0.25829
|  | 15000.5623 | 0.25828
|  | 15010.8515 | 0.25826
|  | 15020.5637 | 0.25825
|  | 15030.8415 | 0.25824
|  | 15040.5428 | 0.25823
|  | 15050.8089 | 0.25819
|  | 15060.4993 | 0.25815
|  | 15070.754 | 0.25811
|  | 15080.4334 | 0.25808
|  | 15090.6765 | 0.25804
|  | 15100.9136 | 0.25798
|  | 15110.5765 | 0.25792
|  | 15120.802 | 0.25785
|  | 15130.4539 | 0.25778
|  | 15140.6678 | 0.2577
|  | 15150.8757 | 0.25761
|  | 15160.511 | 0.25752
|  | 15170.7073 | 0.25744
|  | 15180.3316 | 0.25739
|  | 15190.5163 | 0.25734
|  | 15200.6949 | 0.25729
|  | 15210.3025 | 0.25722
|  | 15220.4695 | 0.25714
|  | 15230.6305 | 0.25705
|  | 15240.7854 | 0.25694
|  | 15250.3706 | 0.25683
|  | 15260.5139 | 0.25671
|  | 15270.6511 | 0.25659
|  | 15280.7823 | 0.25646
|  | 15290.3451 | 0.25633
|  | 15300.4645 | 0.2562
|  | 15310.5779 | 0.25608
|  | 15320.6853 | 0.25594
|  | 15330.2256 | 0.25578
|  | 15340.3212 | 0.2556
|  | 15350.4107 | 0.25541
|  | 15360.4942 | 0.25521
|  | 15370.5716 | 0.25502
|  | 15380.643 | 0.25482
|  | 15390.7083 | 0.25462
|  | 15400.2088 | 0.25441
|  | 15410.2622 | 0.2542
|  | 15420.3096 | 0.254
|  | 15430.3509 | 0.25382
|  | 15440.3861 | 0.25365
|  | 15450.4152 | 0.25346
|  | 15460.4382 | 0.25328
|  | 15470.4551 | 0.2531
|  | 15480.4659 | 0.25293
|  | 15490.4706 | 0.25276
|  | 15500.4692 | 0.25259
|  | 15510.4616 | 0.25241
|  | 15520.4479 | 0.25223
|  | 15530.4281 | 0.25205
|  | 15540.4022 | 0.25189
|  | 15550.3701 | 0.25174
|  | 15560.3319 | 0.2516
|  | 15570.2876 | 0.25145
|  | 15580.2371 | 0.2513
|  | 15590.1804 | 0.25114
|  | 15600.1176 | 0.25098
|  | 15610.0487 | 0.25082
|  | 15620.5247 | 0.25065
|  | 15630.4431 | 0.25047
|  | 15640.3553 | 0.25029
|  | 15650.2613 | 0.25011
|  | 15660.1611 | 0.24994
|  | 15670.0548 | 0.24978
|  | 15680.4914 | 0.24962
|  | 15690.3723 | 0.24946
|  | 15700.2471 | 0.2493
|  | 15710.1156 | 0.24915
|  | 15719.978 | 0.24901
|  | 15730.3815 | 0.24888
|  | 15740.2311 | 0.24875
|  | 15750.0744 | 0.24862
|  | 15759.9116 | 0.2485
|  | 15770.2885 | 0.24838
|  | 15780.1129 | 0.24826
|  | 15789.931 | 0.24814
|  | 15800.2878 | 0.24803
|  | 15810.0931 | 0.24792
|  | 15819.8922 | 0.24781
|  | 15830.2289 | 0.2477
|  | 15840.0151 | 0.24758
|  | 15850.3382 | 0.24747
|  | 15860.1116 | 0.24735
|  | 15869.8787 | 0.24723
|  | 15880.1816 | 0.2471
|  | 15889.9358 | 0.24696
|  | 15900.2252 | 0.24683
|  | 15909.9665 | 0.24669
|  | 15920.2422 | 0.24654
|  | 15929.9706 | 0.24641
|  | 15940.2326 | 0.24627
|  | 15949.9481 | 0.24614
|  | 15960.1965 | 0.246
|  | 15969.899 | 0.24587
|  | 15980.1338 | 0.24573
|  | 15989.8233 | 0.24558
|  | 16000.0444 | 0.24543